.Page 1 of 7
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  21
Electrical
Pending Review
TAC Recommendation
TAC:
 21
Total Mods for  
in
Pending Review
Electrical
Electrical
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
Proponent
Michael Weinbaum
Section
Chapter
Summary
Comment

AS
AS/IC

454
Revert 680.5 of 2023 National Electric Code to 2020 National Electric Code text.
 11922
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
 X

Della Croce  Motion to Deny  2nd Tibbs  Vote:  10 Yes – 0 No
TAC Action
Michael Weinbaum
Comment
Summary
Proponent
454.1.1
define "Interlock"
Mod #
 11927
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 4
Chapter

 X

Holland Motion to Deny  2nd Gerwig  Vote:  10 Yes – 0 No
Section
TAC Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.1.10.4.2
Creates an exception in the Florida Building Code for the swimming pool and spa equipotential bonding requirements of NFPA 70 Sec. 680.26(2)(a)‑(b).
 11975
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
 X

Castronovo Motion to Deny  2nd Della Croce  Vote:10 Yes – 0 No
TAC Action
Dallas Thiesen
Comment
Summary
Proponent
454.1.8.15
Excepts spas equipped with gravity flow drain systems from the emergency cut off switch requirements of NFPA 70.
Mod #
 11978
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 4
Chapter

 X

Holland Motion to Deny   2nd Gerwig  Vote:  10 Yes – 0 No
Section
TAC Action

Page 2 of 7
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  21
Electrical
TAC:
 21
Total Mods for  
in
Pending Review
Electrical
Electrical
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.16
Creates and exception to the 2023 NFPA 70 for bonding pools and spas. Preserves the status quo for equipotential bonding which has no record of failure in the 20 years that it has been in use in Florida.
 12005
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
 X

Castronovo  Motion to Deny  2nd Gerwig  Vote: 10 Yes – 0 No  
TAC Action
John Hall
Comment
Summary
Proponent
454.1.10.4.1
This modification is a local technical amendment to address the voltage limitations for commercial swimming pools.
Mod #
 12111
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 4
Chapter

 X

Torrito  Motion to Deny  2nd Tibbs   Vote: 8 Yes – 2 No  Passes
Section
TAC Action
Mod #
Proponent
John Hall
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.16
This modification is a local technical amendment to adderss the voltage limitations for residential swimming pools.
 12115
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
 X

Torrito  Motion to Approve  2nd Gonzalez  Vote:6 Yes- 4 No  Fails
Holland Motion to Deny  2nd Torrito  5 Yes – 5 No   Fails by default. 
TAC Action
15‑Roof Assemblies and Rooftop Structures
Amanda Hickman
Comment
Summary
Proponent
1510.8.6
Updates Rooftop Structures for LPS
Mod #
 12141
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 15
Chapter

X

Tibbs Motion to Approve as Submitted  2nd Holland   Vote: 8 Yes – 2 No  Passes
Section
TAC Action
16‑Structural Design

Page 3 of 7
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  21
Electrical
TAC:
 21
Total Mods for  
in
Pending Review
Electrical
Electrical
Douglas Armstrong
Comment
Summary
Proponent
1604.5.3
This specialized code language will provide a systematic, accurate, and consistent approach to evaluating lightning risk for these essential uses and recommend protective measures.
Mod #
 12298
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 16
Chapter

X

Tibbs Motion to Approve as Submitted   2nd Holland   Vote: 7 Yes – 3 No  Passes
Section
TAC Action
27‑Electrical
Bryan Holland
Comment
Summary
Proponent
2703
This proposed modification would add mandatory lightning and surge protection requirements for risk category III or IV buildings and structures.
Mod #
 12031
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 27
Chapter

 X

Holland Motion to Approve as Submitted   2nd Della Croce  Vote: 5 Yes – 5 No  Fails  
Gerwig Motion to Deny based on previous action by the Commission  2d Torrito   5 Yes – 5 No  Fails by default
Section
TAC Action
Joseph Belcher
Comment
Summary
Proponent
2701
Eliminate ACFI in kitchens
Mod #
 12324
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 27
Chapter

 X

Territo Motion to Deny  2nd Holland   10 Yes – 0 No 
Section
TAC Action
35‑Referenced Standards
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment

AS
AS/IC

 X
102.4
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs)
 11954
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Schock Motion to Approve as Modified with first edition NEC 2023 without TIA’s.  2nd Gerwig  10 Yes – 0 No
TAC Action

Page 4 of 7
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  21
Electrical
TAC:
 21
Total Mods for  
in
Pending Review
Electrical
Electrical
SubCode:
Ü
SubCode:
Energy Conservation
6‑[CE] Reference Standards
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment

AS
AS/IC

X
106.1
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs)
 12024
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 6

Burdick Motion to Approve as Modified with first edition NEC 2023 as published 12/2023 without TIA’s.  2nd Gerwig  10 Yes – 0 No

TAC Action
6‑[RE] Reference Standards
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment

AS
AS/IC

 X
106.1
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs)
 12025
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 6

Gerwig Motion to Approve as Modified with first edition NEC 2023 as published 12/2023 without TIA’s.  2nd Tibbs  10 Yes – 0 No

TAC Action
SubCode:
Ü
SubCode:
Existing Building
3‑Provisions for All Compliance Methods
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

302.6.2
Excepts Florida from the equipotential bonding requirements of 2023 NFPA 70 and preserves the status quo, allowing the continued use of single wire the single wire bonding method which has no history of failure in the 20 years that it has been in 
 11977
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3
 X

Holland Motion to Deny based on previous action.  2nd Burdick  Vote 10 Yes – 0 No  
TAC Action
16‑Referenced Standards

Page 5 of 7
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  21
Electrical
TAC:
 21
Total Mods for  
in
Pending Review
Electrical
Electrical
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment

AS
AS/IC

 X
102.4
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs)
 12026
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Tibbs Motion to Approve as Modified with first edition NEC 2023 as published 12/2023 without TIA’s.  2nd Gerwig  10 Yes – 0 No

TAC Action
SubCode:
Ü
SubCode:
Mechanical
15‑Referenced Standards
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment

AS
AS/IC

 X
102.4
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs)
 12027
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 15

Gerwig Motion to Approve as Modified with first edition NEC 2023 as published 12/2023 without TIA’s.  2nd Tibbs  
Vote:10 Yes – 0 No

TAC Action
SubCode:
Ü
SubCode:
Plumbing
1‑Scope And Administration
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment

AS
AS/IC

 X
102.4
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs) in Chapter 15. (Chapter 15 is not in the drop box above)
 12029
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 1

Schock Motion to Approve as Modified with first edition NEC 2023 as published 12/2023 without TIA’s.  2nd Holland 
Vote:  10 Yes – 0 No

TAC Action
SubCode:
Ü
SubCode:
Residential

Page 6 of 7
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  21
Electrical
TAC:
 21
Total Mods for  
in
Pending Review
Electrical
Electrical
3‑Building Planning
Mod #
Proponent
Joseph Belcher
Section
Chapter
Summary
Comment
 X
AS
AS/IC

301.2.1.1.1
Electrical receptacles in Cat I and II sunrooms
 12183
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Gerwig Motion to Approve as Submitted  2nd Tibbs  Vote: 10 Yes – 0 No
TAC Action
34‑General Requirements
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment
 X
AS
AS/IC

3408.1
Deletes an unnecessary amendment to the NEC that is adequately addressed in the 2023 edition.
 12048
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 34

Gonzalez Motion to Approve as Submitted  2nd Holland  Vote: 10 Yes – 0 No
TAC Action
2712‑Reference Standards
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment

AS
AS/IC

 X
102.4
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs).
 11955
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 46

Burdick Motion to Approve as Modified with first edition NEC 2023 as published 12/2023 without TIA’s.  2nd Tibbs  
Vote:10 Yes – 0 No

TAC Action
Search Criteria

Page 7 of 7
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  21
Electrical
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 Triennial Original Modification 01/03/2025 ‑ 02/18/2025
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
E