|  |
| --- |
| **PLUMBING****TAC ACTION/Votes****Local Technical amendments****to the****2023 8th Edition Florida Building Code** |
|  |  |  |  |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC ACTION/VOTE |
|  |  |  |  |
| Broward CountyPg 2 | FBCRESIDENTIALTable 2903.2 | Local Amendment regarding Maximum Flow Rates and Consumption for Plumbing Fixtures, and Fixture Fittings and Appliances. | Kozan Motion to Deny 2nd Gonzalez Vote: 8 Yes – 0 No |
|  |  |  |  |
| Pinellas County Construction Industry Licensing Board(PCCILB)Pg. 3 | FBC RESIDENTIALP2903.1  | Local Amendment regarding Water Supply System Design Criteria – with Exception: for one-, two- or three-family residential dwellings and piping size/length requirements. | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
|  |  |  |  |
| Pinellas County Construction Industry Licensing Board(PCCILB)Pg 4 | FBCPLUMBING610.2 | Local Amendment regarding Applicable Sizes for Disinfection of Potable Water Systems. | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
|  |  |  |  |
| Pinellas County Construction Industry Licensing Board(PCCILB)Pg 5 | FBCRESIDENTIALP2903.2.1  | Local Amendment regarding Size of Water Service and piping size/length requirements. | Kozan Motion to Deny 2nd Languille Vote: 8 Yes – 0 No |
|  |  |  |  |
| County of Miami-DadePg 6 | FBCPLUMBING602.1.1 | Local Amendment regarding Meters and Submeters requirements for single and multi-unit structures. | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
|  |  |  |  |
| County of Miami-Dade Pg 7 | FBCPLUMBING604.4AndTable 604.4 | Local Amendment regarding Maximum Flow and Water Consumption and Fixture and Fixture Fitting and Appliance Requirements | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
|  |  |  |  |
| County of Miami-DadePg 10 | FBCRESIDENTIALTable P2903.2a | Local Amendment regarding Maximum Flow Rates and Consumption for Plumbing Fixtures and Fixture Fittings and Appliances and alternative water supply | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
|  |  |  |  |
| Broward CountyPg. 13 | FBCResidentialAppendix F | Local Amendment regarding Proposed Building Codes for Turf and Landscape Irrigation Systems | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
|  |  |  |  |
| Broward CountyPg. 15 | FBCBUILDINGAppendix F | Local Amendment regarding Proposed Building Codes for Turf and Landscape Irrigation Systems | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |