12Page 1 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
Pending Review
TAC Recommendation
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
SubCode:
Ü
SubCode:
Building
1‑Scope and Administration
Richard Logan
Comment
Summary
Proponent
101
The provisions contained in this Appendix P present recommendations for the design and construction of more resilient, healthier, and longer lasting buildings in Florida.
Mod #
 11763
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 1
Chapter

 X

Compton Motion to Deny for more work on language.  2nd Schock   Vote:11 Yes- 0 No

Section
TAC Action
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

107.3.5
Certain documentation is required for construction in flood hazard areas: elevation to which Lowest Floors are elevated, the elevation to which dry floodproofing will extend, and design of dry floodproofing. Proposal specifies use of FEMA 
 11962
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 1
 X

Proponent requests denial with intent to readdress.
Parackal Motion to Deny  2nd Schock    Vote:11 Yes – 0 No 

TAC Action
2‑Definitions
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

202
Including definitions for insulated vinyl siding and backed siding in the Florida Building Code is necessary to reflect advancements in siding products and ensure clear guidance for designers, contractors, and inspectors.
 11892
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2
 X

Parackal  Motion to Deny to work on language  2nd Gascon   Vote: 11 Yes – 0 No
Definition needs clarification.

TAC Action

Page 2 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

202
Add definition for exterior soffits.
 11893
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2
 X

Proponent agrees with denial to work on language. 
Parackal  Motion to Deny to work on language  2nd Gascon   Vote: 11 Yes – 0 No
Definition needs clarification

TAC Action
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
 X
AS
AS/IC

202
Clarifies the relationship between Vult wind speeds referenced in the code and the Basic Wind Speeds referenced in ASCE 7
 11987
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

Gascon Motion to Approve as Submited  2nd Guerasio    Vote: 11 Yes – 0 No

TAC Action
Mod #
Proponent
Jennifer Bridge
Section
Chapter
Summary
Comment

AS
AS/IC

 
202
Proposed revision to the definition of wind‑borne debris region
 12109
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2
 X

Proponent agrees with need to work on language.
Kim Motion to Approve as Submitted   2nd Schock     Kim, homebuilders do not want this but not having it moves requirement back to a mile.  ASCE 7 created this requirement.  Research is not completed to confidently implement.  
Vote: 4 Yes – 7 No  Fails    
Gascon Motion to Deny    2nd Parackal   Vote: 9 Yes – 2 No

TAC Action
Mod #
Proponent
Cade Booth
Section
Chapter
Summary
Comment
 X
AS
AS/IC

202
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear 
 12280
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

This is only an addition in definition “or Mass Timber.  Parrino- this package causes confusion.
Compton Motion to Approve as Submitted.  2nd Gascon  Vote:9 Yes – 2 No   Passe
TAC Action
4‑Special Detailed Requirements Based on Use and Occupancy

Page 3 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
 X
AS
AS/IC

423
This proposal updates ICC 500 to the 2023 edition and correlates Section 423 with the requirements in ICC 500‑23.
 12159
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Kim  Motion to Approve as Submitted  2nd  Gascon   Vote:  11 Yes – 0
TAC Action
12‑Interior Environment
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
 X
AS
AS/IC

1203.2
Clarify roof ventilation provisions.
 11765
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 12

Compton Motion to Approve as Submitted   2nd  Gascon  Vote  11 Yes- 0 No

TAC Action
14‑Exterior Walls
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

1410
Remove the J‑channel at the wall junction from the drawing, as it is not a required element, to prevent creating unnecessary code requirements.
 11894
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14
X

Parackel  Motion to Deny  2nd  Gascon  Vote:  10 Yes – 0 No

TAC Action
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

1404.9
Add new attachment criteri to section on viniyl siding, backed vinyl siding and insulated vinyl siding.
 11931
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14
 X

Guerasio Motion to Deny  2nd Gascon   Vote:  10 Yes – 0 No

TAC Action

Page 4 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Joseph Belcher
Section
Chapter
Summary
Comment
 X
AS
AS/IC

1405.6
Correct reference to updated TMS standard
 12196
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14

Compton  Motion to Approve as Submitted  2nd Gascon   Vote:  10 Yes – 0 No

TAC Action
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X
AS
AS/IC

1405.2
Clarification of installation methods for fiber‑cement siding in HVHZ.
 12339
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14

Schock  Motion to Approve as Submitted  2nd  Gascon   Vote:  10 Yes – 0 No
TAC Action
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
X
AS
AS/IC

1405.16.1
Clarification on the means of supporting and attachment of edges/joints of fiber‑cement siding panels.
 12342
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14

Schock  Motion to Approve as Submitted  2nd  Gascon   Vote: 10 Yes – 0 No

TAC Action
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X
AS
AS/IC

1405.16.2
Clarification on the acceptable materials used as flashing for fiber‑cement lap joints to prevent accumulation of water and a means for draining to the exterior.
 12347
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14

Schock  Motion to Approve as Submitted  2nd Gascon  Vote:  11 Yes – 0 No

TAC Action

Page 5 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
X
AS
AS/IC

1410.4
Clarification on the acceptable means of support and attachment of edges/joints of fiber‑cement soffits.
 12349
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14

Harkema  Motion to Approve as Submitted  2nd  Gascon   Vote:  11 Yes – 0 No

TAC Action
15‑Roof Assemblies and Rooftop Structures
Mod #
Proponent
Amanda Hickman
Section
Chapter
Summary
Comment
X
AS
AS/IC

1504.3
Permits allowable stress design to be used for wind load determination.
 12123
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 15

Guerasio  Motion to Approve as Submitted  Clarifies the code  2nd  Parackal  Vote: 11 Yes – 0 No

TAC Action
16‑Structural Design
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment
X
AS
AS/IC

1612.5
Modify for alternate resistance units for ultimate load. Proposed by FEMA as S126‑22. The companion RB142‑22, which did the same for the IRC, was carried forward for the FBC Residential as 111475.
 11960
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Ruark Motion to Approve as Submitted  2nd Gascon  Vote:  10 Yes – 0 No

TAC Action
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment
X
AS
AS/IC

1612.2
Editorial change to list of flood terms defined in Chapter 2 by (1) add “Limit of Moderate Wave Action” that was added to Sec 202 in the 8th Ed; and (2) add “Local Floodplain Management Ordinance” which was omitted when definitions 
 11970
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Ruark Motion to Approve as Submitted  2nd Harkema   Vote:  11 Yes – 0 No

TAC Action

Page 6 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment
X
AS
AS/IC

1612.3
Current phrasing of Sec. 1612.3 implies a study/map other than or in addition to the FEMA study/map could be adopted. Modify to be explicit and match phrasing proposed for the FBC Residential.
 11972
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Ruark Motion to Approve as Submitted  2nd Harkema   Vote: 11 Yes – 0 No
TAC Action
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

1612.4
Rectifies disconnect with the NFIP minimum requirements that was created in the 2024 IBC (see 11175/S116‑22 AMPC4). ASCE 24 has provisions for temporary structures (less than 180 days), which are Flood Design Class 1. They may be 
 11976
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16
 X

Proponent requesting to Deny for work on language.
Ruark Motion to Deny  2n Harkema  Vote: 11 Yes – 0 No

TAC Action
Dallas Thiesen
Comment
Summary
Proponent
1612.4.2
Modifies the requirements for pool equipment installed in Special Flood Hazard Zones.
Mod #
 11980
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 16
Chapter

 X

Parrino  Motion to Deny to work on languge  2nd  Gascon   Vote:  11 Yes – 0 No
Section
TAC Action
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

1612.4
Add provisions for structures in flood hazard areas other than buildings, including structures that are roofed but not walled. Such structures include pole barns, gazebos, platforms, boat shelters, and RV shade structures.
 12017
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16
X

Per Proponent request denial to work on language
Ruark  Motion to Deny to work on languge  2nd  Harkema   Vote:  11 Yes – 0 No

TAC Action

Page 7 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment
X
AS
AS/IC

1616.2.1
Removes design wind speed value for 3‑second gust
 12032
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Gascon  Motion to Approve as Submitted  2nd  Guerasio  Vote:  11 Yes – 0 No

TAC Action
Mod #
Proponent
Jaime Gascon
Section
Chapter
Summary
Comment
X
AS
AS/IC

1612.4
Provides reference to an acceptable test standard to qualify passive flood resistant products based on performance testing.
 12034
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Per Gascon this applies to anything A Zone and all of Florida as an available standard.
Ruark Motion to Approve as Submitted  2nd Guerasio   9 Yes – 2 No  Passes

TAC Action
Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment

AS
AS/IC

1607
Changes live load requirements in parking garages from 40 psf to 55 psf to account for increased weight of electric vehicles
 12046
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16
X

Gascon Motion to Approve as Submitted  2nd  Guerasio   Vote: 6 Yes – 4 No  Fails
Kim Motion to Deny  2nd Parrino  Vote: 5 Yes – 5 No  Fails   by default this is Denied.

TAC Action
Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment

AS
AS/IC

1618.2
Provides guidance on design of new underground parking garages to address concerns relating to sea level rise
 12069
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16
X

Proponent requesting denial to work on language.
Kim Motion to Deny to work on language   2nd  Guerasio  Vote:  11 Yes – 0 No

TAC Action

Page 8 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
DAVID MONSOUR
Section
Chapter
Summary
Comment
X
AS
AS/IC

1609
Update terminology for vehicle access doors.
 12139
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Kim Motion to Approve as Submitted  2nd  Gascon  Vote: 11 Yes – 0 No

TAC Action
Mod #
Proponent
DAVID MONSOUR
Section
Chapter
Summary
Comment
X
AS
AS/IC

1609
Update Table 1609.7(1) and its notes.
 12200
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Monsour Motion to Approve as Submitted  2nd Harkema  Vote:   11 Yes – 0 No

TAC Action
Douglas Armstrong
Comment
Summary
Proponent
1604.5.3
This specialized code language will provide a systematic, accurate, and consistent approach to evaluating lightning risk for these essential uses and recommend protective measures.
Mod #
 12298
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 16
Chapter

 X

Schock Motion to Deny  2nd  Parrino   Vote: 11 Yes – 0 No
Kim, do we want to use the Code to require assessments…?

Section
TAC Action
17‑Structural Tests and Special Inspections
Mod #
Proponent
Milad Shabanian
Section
Chapter
Summary
Comment
X
AS
AS/IC

1711
This proposal adds a new section to the code and is based on the corrosion resistance requirements in ICC 600‑2020.
 12161
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 17

Definition needs clarification – concept is good but language needs work.
Kim  Motion to Approve as Submitted  2nd  Gascon           
Kim – this is needed and we need to clean up the ‘salt water’ and ‘corrosion resistant” language.
 Vote: 10 Yes – 1 No

TAC Action

Page 9 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Milad Shabanian
Comment
Summary
Proponent
1709.5.1
Revise exterior windows and doors provision with focus on water intrusion.
Mod #
 12167
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 17
Chapter

 X

Jennifer Hatfield on behalf of proponent requesting denial for now to work on language.
Macomber  Motion to Deny for discussion   2nd  Harkema     Vote:  11 Yes – 0 No

Section
TAC Action
Mod #
Proponent
DAVID MONSOUR
Section
Chapter
Summary
Comment
 X
AS
AS/IC

1709
To clarify the text of Section 1709.5.2.1.
 12217
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 17

Monsour  Motion to Approve as Submitted  2nd Gascon  Vote:  11 Yes – 0 No

TAC Action
Mod #
Proponent
Cade Booth
Section
Chapter
Summary
Comment

AS
AS/IC

17
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear 
 12255
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 17
 X

Parrino  Motion to Deny with understanding that proponent can readdress TAC once Type A, B, and C is clarified.
2nd Schock    Vote  10 Yes – 1 No  Passes

TAC Action
Mod #
Proponent
Cade Booth
Section
Chapter
Summary
Comment

AS
AS/IC

1711
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear 
 12278
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 17
 X

Parrino  Motion to Deny  2nd  Schock   Vote: 10 Yes – 1 No  Passes

TAC Action
18‑Soils and Foundations

Page 10 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment
 X
AS
AS/IC

1805.1.2.1
Remove exception that allows below‑grade under‑floor spaces that meet certain requirements and limitations in a FEMA bulleting that also requires local ordinance adoption of those requirements. Below‑grade crawlspaces are rarely if 
 12022
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 18

Ruark  Motion to Approve as Submitted  2nd Harkema   Vote:  11 Yes – 0 No

TAC Action
20‑Aluminum
Joseph Belcher
Comment
Summary
Proponent
2002.12003.1
Establishes minimum standard of performance for alloys used as structural members in aluminum structures.
Mod #
 12191
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 20
Chapter

 X

Macomber  Motion to Approve as Sumbitted    2nd Harkema    Vote: 10 Yes – 1 No
Kim language needs some work regarding ‘an alloy with a great standard of performance’
Section
TAC Action
Mod #
Proponent
Joseph Belcher
Section
Chapter
Summary
Comment
 X
AS
AS/IC

2003.1
Establishes a minimum standard of performance for alloys used for structural members of aluminum structures.
 12194
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 20

Monsour  Motion to Deny  2nd  Motion dies for lack of second
Kim Motion to Approve as Submitted  2nd Monsour   this is repetitious of previous mod i12194    Vote: 9 Yes – 2 No

TAC Action
22‑Steel
Mod #
Proponent
Thomas Sputo
Section
Chapter
Summary
Comment

AS
AS/IC

2201.1
Adds cold‑formed steel requirements as contained within Sections 2210 through 2213 to HVHZ, but requiring those sections to be modified by Sections 2214 through 2224 when the HVHZ requirements conflict with Sections 2210 through 
 11853
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 22
 X

Compton Motion to Approve as Submitted  2nd Kim   
Gascon possible conflict with mod 11916     Vote: 2 Yes – 9 No  Fails
Guerasio Motion to Deny  2nd Gascon    Vote:  11 Yes – 0 No

TAC Action

Page 11 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Bonnie Manley
Comment
Summary
Proponent
22
Editorial reorganization of FBC Chapter 22 adapted from ICC Proposal S187‑22, which was approved as modified for the 2024 IBC. It is a further amendment of the FLMod #11240, which was disapproved in the first round.
Mod #
 11916
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 22
Chapter

 

X
Guerasio Motion to Approve as Submitted  2nd Gascon   WITHDRAWN 
Guerasio Motion to Approve as Amended with Original and A2   2nd Gascon  Vote:  11 Yes – 0 No 

Section
TAC Action
Bonnie Manley
Comment
Summary
Proponent
2214.3
Deletes the non‑mandatory steel industry documents from the HVHZ provisions. It also updates several Ch. 22 mandatory reference standards that appear only in HVHZ sections.
Mod #
 11917
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 22
Chapter

 X
Guerasio Motion to Approve as Amended including original plus A2 and A4  2nd  Gascon  Vote:  11 yes – 0 No

Section
TAC Action
23‑Wood
Mod #
Proponent
Jaime Gascon
Section
Chapter
Summary
Comment
 X
AS
AS/IC

2324.2
Adds references to the corrosion resistance testing already being used for nails, bolts and other metal connectors.
 11695
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23

Compton  Motion to Approve as Submitted  2nd Macomber    Vote 11 Yes – 0 No

TAC Action
Mod #
Proponent
Milad Shabanian
Section
Chapter
Summary
Comment

AS
AS/IC

2304.11.2.1
Clarifies the provisions for exterior walls in heavy timber structures by replacing vague, unenforceable language with more precise and enforceable language.
 12158
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23
 X

Kim Motion to Deny  2nd Macomber  Vote:  11 Yes – 0 No

TAC Action

Page 12 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Cade Booth
Section
Chapter
Summary
Comment

AS
AS/IC

23
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear 
 12254
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23
 X

Parino Motion to Deny based on Type 4A,B, C construction up to 200 ft tall building.  2nd  Schock  Vote: 10 Yes – 1 No

TAC Action
Mod #
Proponent
Cade Booth
Section
Chapter
Summary
Comment

AS
AS/IC

2304.10.8
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear 
 12274
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23
 X

Parrino  Motion to Deny as part of pervious code mod  consistent with previous action  2nd Schock   9 Yes – 2 No 

TAC Action
Mod #
Proponent
Cade Booth
Section
Chapter
Summary
Comment

AS
AS/IC

2304.11.3
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear 
 12276
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23
 X

Parrino  Motion to Deny consistent with previous action and language of the mod  2nd  Schock  Vote:  9 Yes – 2 No

TAC Action
Mod #
Proponent
Cade Booth
Section
Chapter
Summary
Comment

AS
AS/IC

2304.11.4
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear 
 12277
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23
 X

Parrino  Motion to Deny based on previous action on code mod 12294  2nd Schock   Vote 9 Yes – 2 No 

TAC Action

Page 13 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X
AS
AS/IC

2322.4.2
Clarification of installation methods for fiber‑cement siding in HVHZ.
 12341
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23

Schock Motion to Approve as Submitted  2nd Gascon  Vote: 11 Yes – 0 No
TAC Action
24‑Glass and Glazing
Mod #
Proponent
Jaime Gascon
Section
Chapter
Summary
Comment
 X
AS
AS/IC

2415.5.4.1
Increases the design stress of structural silicone from 20 to 30 psi and maintains current safety factors of 5:1.
 11965
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 24

Guerasio Motion to Approve as Submitted  2nd  Gascon  Vote: 11 Yes – 0 No
TAC Action
Mod #
Proponent
Milad Shabanian
Section
Chapter
Summary
Comment

AS
AS/IC

2411.3.2.1
Revise exterior windows and doors provision with focus on water intrusion.
 12171
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 24
 X

Macomber Motion Deny  2nd Harkema   Vote: 11 Yes – 0 No
TAC Action
25‑Gypsum Board,Gypsum Panel Products and Plaster
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X
AS
AS/IC

2509.2
removal of redundant term
 12353
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 25

Harkema Motion to Approve as Submitted  2nd Gascon  Vote:  11 Yes – 0 No
TAC Action

Page 14 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
31‑Special Construction
Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment
 X
AS
AS/IC

3105
This section clarifies the trigger wind speed
 12122
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 31

Kim Motion to Approve as Submitted  2nd  Gascon  Vote:  9 Yes – 2 No
TAC Action
Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment
 X
AS
AS/IC

3105.4
This section clarifies the trigger wind speed and design wind speed
 12124
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 31

Kim Motion to Approve as Submitted  2nd  Gascon  Vote 11 yes – 0 No
TAC Action
Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment
 X
AS
AS/IC

3105.4.2.2
This modification is being made to bring consistency to wind design in the HVHZ
 12125
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 31

Kim Motion to Approve as Submitted  2nd  Gascon   Vote:  11 Yes - 0 No
TAC Action
33‑Safeguards During Construction
Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment
 X
AS
AS/IC

3307
Requires monitoring of existing structures adjacent to new construction for vibration‑induced stresses
 12047
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 33

Gascon Motion to Approve as Submitted  2nd Guerasio  Vote:  11 Yes 0 No
TAC Action
35‑Referenced Standards

Page 15 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Aaron Phillips
Comment
Summary
Proponent
35
Update editions of referenced standards.
Mod #
 11849
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 35
Chapter

 X
Compton to Approve as Modified with A1  2nd Gascon   Vote:  11 Yes – 0 No
Section
TAC Action
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

35
On behalf of the Fenestration & Glazing Industry Alliance (FGIA), this modification provides standard updates for both AAMA and ASTM standards used in the fenestration industry.
 11967
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35
 X

Proponent requests denial until standards are completed  
Guerasio Motion to Deny   2nd  Gascon  Vote:  11 Yes – 0 No
TAC Action
Amanda Hickman
Comment
Summary
Proponent
1
SPRI Standard updates
Mod #
 12121
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 35
Chapter

 X

Kim Motion to Approve as Submitted  2nd  Harkema  Vote:  1 Yes – 0 No
Section
TAC Action
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X
AS
AS/IC

35
update to referenced standard versions
 12351
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Harkema  Motion to Approve as Submitted  2nd  Gascon   Vote:  11 Yes – 0 No
TAC Action
SubCode:
Ü
SubCode:
Existing Building
2‑Definitions

Page 16 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment
 X
AS
AS/IC

202
Adds definition for “lowest floor” that was added to 2024 IEBC by EB50‑22.
 11959
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

Monsour Motion to Approve as Submitted  2nd Harkema   Vote:  11 Yes – 0 No
TAC Action
4‑Repairs
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

401.5
For clarity, carry into other codes the change made in 8th to require elevation of exterior equipment and exterior appliances that are damaged by flood (see FBC EB Sec. 701.3 and FBCR Sec. R322.1.6).
 12018
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
 X

Proponent requesting denial to work on language.
 Ruark Motion to Deny  2nd Harkema  Vote  11 yes – 0 No
TAC Action
7‑Alterations ‑ Level 1
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
 X
AS
AS/IC

707.4
On behalf of the Fenestration & Glazing Industry Alliance (FGIA), this modification adds a reference to Chapter 7 of the Florida Residential Code and Chapter 16 of the Florida Building Code, to ensure flashing requirements are met when 
 11969
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Guerasio  Motion to Approve as Submitted  2nd  Gascon  Vote:  11 Yes – 0 No
TAC Action
T Stafford
Comment
Summary
Proponent
706.7.1.2
This proposal updates roof deck re‑nailing table and strengthens the fastener spacing for higher wind speeds.
Mod #
 12168
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 7
Chapter

 X

Macomber Motion to Deny  2nd  Parrino   Vote:  9 Yes – 2 No
Section
TAC Action

Page 17 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
SubCode:
Ü
SubCode:
Residential
1‑Scope and Administration
Mod #
Proponent
Greg Burke
Section
Chapter
Summary
Comment

AS
AS/IC

101.1
Adds three‑ and four‑ family dwellings to the scope.
 11777
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 1
 X

Ruark  Motion to Deny  2nd  Harkema   Vote 11 yes – 0 No
TAC Action
2‑Definitions
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
 X
AS
AS/IC

202
Modify definition of manufacturer's installation instructions.
 11733
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

Compton Motion to Approve as Submitted  2nd Parrino   Vote: 11 Yes – 0 No
TAC Action
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

202
Add Backed Vinyl Siding to the code as a new catergory of vinyl siding, helping distiguish this product from Inuslated Viny Siding.
 11869
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2
 X

Proponent asking for Denial for consistency with previous action
Compton Motion to Deny  2nd  Parrino  Vote: 11 yes – 0 No
TAC Action

Page 18 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Fernando Pages
Comment
Summary
Proponent
202
Add EXTERIOR SOFFIT definition to the code.
Mod #
 11870
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 2
Chapter

 X

 Proponent requesting motion to deny with comment
Parackal  Motion to Deny  2nd Parrino   Vote:  11 Yes – 0 No
Section
TAC Action
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

202
Clarifies the relationship between Vult wind speeds referenced in the code and the Basic Wind Speeds referenced in ASCE 7
 11990
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

Gascon Motion to Approve as Submitted consistent with previous action  2nd  Parrino  Vote: 11 Yes – 0 No
TAC Action
Mod #
Proponent
Jennifer Bridge
Section
Chapter
Summary
Comment

AS
AS/IC

202
Proposed revision to the definition of wind‑borne debris region
 12128
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2
 X

Kim  Motion to Deny  2nd  Parrino   Vote:  11 Yes – 0 No
TAC Action
3‑Building Planning
Mod #
Proponent
Cade Booth
Section
Chapter
Summary
Comment
 X
AS
AS/IC

301.1.1
The proposed corrects a glitch in the code text, ensuring consistency with the Wood Frame Construction Manual title as published by AWC. While the correct title appears in 301.1.1 parenthesis and Chapter 46, this update aligns the text. No 
 11793
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Compton  Motion to Approve as Submitted  2nd Parrino  Vote:  11 Ye- 0 No
TAC Action

Page 19 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

322.1.10
Certain documentation is required to be submitted for residential construction in flood hazard areas to document the elevation to which Lowest Floors are elevated. The proposal specifies use of the FEMA Elevation Certificate that is specifically 
 11963
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3
 X

Kim Motion to Deny   2nd  Harkema   Vote:  11 Yes – 0 No
TAC Action
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment
 X
AS
AS/IC

302.1
Remove expectation to list FIRM panel numbers/dates (not in FBCB 1612.3). FEMA‑approved Model ordinance does not require listing panels/ dates. Specify the governing body (council/ commission) must adopt other study/maps, not AHJ 
 11974
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Gascon Motion to Approve as Submitted   2nd Guerasio   Vote:  11 Yes – 0 No
TAC Action
Dallas Thiesen
Comment
Summary
Proponent
322.1.6
Updates requirements for pool and spa equipment installed in special flood hazard zones.
Mod #
 11984
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 3
Chapter

 X

Kim  Motion to Deny  2nd  Parrino  Vote:  11 Yes – 0 No
Section
TAC Action
Mod #
Proponent
John Hall
Section
Chapter
Summary
Comment
 X
AS
AS/IC

301.1
Inclusion of Section R328 ‑ R330 in the HIGH‑VELOCITY HURRICANE ZONE for Miami‑Dade County
 12043
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Gascon Motion to Approve as Submitted   2nd Parrino   Vote:  1 Yes – 0 No
TAC Action

Page 20 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
 X
AS
AS/IC

323
This proposal updates ICC 500 to the 2023 edition and correlates Section 323 with the requirements in ICC 500‑23.
 12160
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Kim  Motion to Approve as Submiited   2nd Schock  Vote:  11 Yes – 0 No
TAC Action
Mod #
Proponent
Milad Shabanian
Section
Chapter
Summary
Comment
 X
AS
AS/IC

306
This proposal adds a new section to the code and is based on the corrosion resistance requirements in ICC 600‑2020.
 12163
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

 Kim  Motion to Approve as Submiited   2nd  Macomber  Vote:  11 Yes – 0 No

TAC Action
Milad Shabanian
Comment
Summary
Proponent
609.3
Revise exterior windows and doors provision with focus on water intrusion.
Mod #
 12169
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 3
Chapter

 X

Macomber  Motion to Deny as requested by proponent   2nd  Gascon   Vote:  11 Yes – 0 No
Section
TAC Action
Mod #
Proponent
Joseph Belcher
Section
Chapter
Summary
Comment

AS
AS/IC

301.2.1.2
Allows unprotected openings on sunrooms added to existing buildings.
 12195
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3
 X

Monsour  Motion to Deny   2nd  Kim   Vote:  11 Yes – 0 No
TAC Action

Page 21 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
DAVID MONSOUR
Section
Chapter
Summary
Comment
 X
AS
AS/IC

301
Update Table R301.2(4) and its notes.
 12213
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Monsour   Motion to Approve as Submitted  2nd Harkema   Vote:  11Yes – 0 No
TAC Action
Mod #
Proponent
DAVID MONSOUR
Section
Chapter
Summary
Comment
 X
AS
AS/IC

301
Clarify the title of Table R301.2(3).
 12219
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Parrino Motion to Approve as Submitted  2nd  Harkema  Vote:  11 Yes – 0 No
TAC Action
4‑Foundations
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment
 X
AS
AS/IC

408.7
Remove exception that allows below‑grade under‑floor spaces that meet certain requirements and limitations in a FEMA bulletin that also requires local ordinance adoption of those requirements. Below‑grade crawlspaces are rarely if ever used 
 12023
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Macomber  Motion to Approve as Sumbitted   2nd Guerasio   Voe: 11 Yes – 0 No
TAC Action
6‑Wall Construction
Milad Shabanian
Comment
Summary
Proponent
609.3
Revise exterior windows and doors provision with focus on water intrusion.
Mod #
 12170
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 6
Chapter

 X

Propoent requesting denial to work onlanguage
Macomber  Motion to Deny  2nd Gascon   Vote:  11 Yes – 0 No
Section
TAC Action

Page 22 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Joseph Belcher
Section
Chapter
Summary
Comment
 X
AS
AS/IC

606.3.5
Bring sgrouting requirements into compliance with TMS 602
 12180
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 6

 Macomber Motion to Approve as Submitted  2nd Parrino   Vote:  11 Yes – 0 No
TAC Action
Mod #
Proponent
DAVID MONSOUR
Section
Chapter
Summary
Comment
 X
AS
AS/IC

609
Clarify Section R609.4
 12216
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 6

Monsour  Motion to Approve as Submitted  2nd Harkema  Vote:  11 Yes – 0 No 
TAC Action
7‑Wall Covering
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

703.11.1
Change replaces the 16" OC stud fastening rule with a prescriptive table allowing tested fastener alternatives based on framing and sheathing. Backed by ASTM D5206 and engineering data, it permits ring shank nails where stud attachment is 
 11871
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7
 X

Milad suggests it should be in table 703.1.1 and correct typo  Proponent agrees
Monsour  Motion to Deny   2nd Gascon   Vote:  11 Yes – 0 No
TAC Action
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

703.11.1.5
This change adds to the recently added requirements with vinyl siding and the importance of starter strip and utility trim. Larger openings need additional connection points for the siding over the top, as this increases the performance of 
 11872
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7
 X

Parackal  Motion to Deny to correct language   2nd  Gascon    Vote: 11 Yes – 0 No
Correct ‘upside down over window or at al times’.
TAC Action

Page 23 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment
 X
AS
AS/IC

703.11.2
The proposed changes to Section R703.11.2 are necessary to address advancements in siding products and ensure that the installation of vinyl siding, backed vinyl siding, or insulated vinyl siding over foam plastic sheathing meets 
 11873
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Parackal  Motion to Approve as Submitted   2nd  Monsour   Vote:  11 Yes – 0 No
TAC Action
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X
AS
AS/IC

703.10.1
Clarification on the means of supporting and attachment of edges/joints of fiber‑cement siding panels.
 12345
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Schock Motion to Approve as Submitted   2nd Parrino   Vote:  11 yes- 0 No
TAC Action
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X X
AS
AS/IC

703.10.2
Clarification on the acceptable materials used as flashing for fiber‑cement lap joints to prevent accumulation of water and a means for draining to the exterior.
 12346
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Schock  Motion to Approve as Submitted  2nd Parrino   Vote:  11 Yes – 0 No 
TAC Action
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X
AS
AS/IC

704.2.2
Clarification on the acceptable means of support and attachment of edges/joints of fiber‑cement soffits.
 12348
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Harkema  Motion to Approve as Submitted   2nd  Parrino  Vote:  11 Yes – 0 No 
TAC Action

Page 24 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X
AS
AS/IC

702.4.2
removal of redundant term
 12350
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Harkema  Motion to Approve as Submitted   2nd Parrino   Vote:  11 Yes – 0 No  
TAC Action
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X
AS
AS/IC

703.3
allowance for performance‑based nominal thicknesses
 12355
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Harkema  Motion to Approve as Submitted  2nd  Parrino  Vote:  11 Yes – 0 No
TAC Action
2712‑Reference Standards
Aaron Phillips
Comment
Summary
Proponent
46
Update editions of referenced standards.
Mod #
 11902
AM/IC
D/IC
D
AM
AS/IC
AS
Pending Review
W
Chapter 46
Chapter

X
Monsour  Motin to Approve as Amended with A1   Vote  11 Yes – 0 No
Section
TAC Action
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

46
On behalf of the Fenestration & Glazing Industry Alliance (FGIA), this modification provides standard updates for both AAMA and ASTM standards used in the fenestration industry.
 11964
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 46
 X

Guerasio  Motion to Deny as requested by Proponent   2nd  Compton  Vote  11 Yes – 0 No  
TAC Action

Page 25 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
TAC:
 97
Total Mods for  
in
Pending Review
Structural
Structural
Mod #
Proponent
Robert Zabcik
Section
Chapter
Summary
Comment

AS
AS/IC

1
Addition of ANSI/MCA FTS‑1 Standard (FRC)
 12077
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 46
 X

Kim  Motion to Deny   2nd Parrino   Vote  11 Yes – 0 No
TAC Action
Mod #
Proponent
Alexander Haldeman
Section
Chapter
Summary
Comment
 X
AS
AS/IC

46
update to referenced standard versions
 12352
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 46

Harkema  Motion to Approve as Submitted if we receive Standards as indicated  2nd  Kim  Vote:  11 Yes – 0 No
TAC Action
SubCode:
Ü
SubCode:
Test Protocols
1‑N/A
Mod #
Proponent
Jaime Gascon
Section
Chapter
Summary
Comment
 X
AS
AS/IC

204
New Testing Application Standard (TAS) 204 ‑ Flood Resistant Test Procedures for passive in place system.
 12040
AM
AM/IC
D/IC
D
Pending Review
W
N/A

Gascon  Motion to Approve as Submitted   2nd Guerasio   Vote:  11 Yes – 0 No
TAC Action
Search Criteria

Page 26 of 26
4/22/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  97
Structural
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 Triennial Original Modification 01/03/2025 ‑ 02/18/2025
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
S