CHAPTER 15

REFERENCED STANDARDS

This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the standard, the standard identification, the effective date and title, and the section or sections of this document that reference the standard. The application of the referenced standards shall be as specified in Section 102.4 of the *Florida Building Code, Building.*

ACCA

Air Conditioning Contractors of America

2800 Shirlington Road, Suite 300

Arlington, VA 22206

Standard Referenced
reference in code
number Title section number

ANSI/ACCA 1 Manual D—~~2016~~ 2023 Residential Duct Systems 601.5, 603.2

ANSI/ACCA 10 Manual SPS ~~2010~~ ~~HVAC~~ Design for Swimming Pools and Spas………………………………………..403.2.1

~~RA~~ 2017

ANSI/ASHRAE/ACCA 183—~~RA2017~~ Peak Cooling and Heating Load Calculations in Buildings
 2007 (reaffirmed 2014)  Except Low-rise Residential Buildings 312.1

AHRI

Air-Conditioning, Heating and Refrigeration Institute

4100 North Fairfax Drive, Suite 200

Arlington, VA 22203

Standard Referenced
reference in code
number Title section number

700—~~2017~~ 2019 ~~with Addendum 1:~~ Specifications for Refrigerants 1102.2.2.3

AMCA

Air Movement and Control Association International

30 West University Drive

Arlington Heights, IL 60004

Standard Referenced
reference in code
number Title section number

ANSI/AMCA 210–16/

ANSI/ASHRAE 51—16 Laboratory Methods of Testing Fans for Aerodynamic
  Performance Rating 403.3.2.4

ANSI/AMCA 230—~~15~~ 2023 Laboratory Methods of Testing Air Circulating Fans for Rating and Certification 929.1

~~ANSI~~/AMCA 550—~~09 (Rev.09/18)~~ 2022 Test Method for High Velocity Wind Driven Rain Resistant Louvers 401.5, 501.3.2

ANSI

American National Standards Institute

11 West 42nd Street

New York, NY 10036

Standard Referenced
reference in code
number Title section number

~~ANSI/CSA FC 1 2014~~ Fuel Cell Technologies- Part 3- 100: Stationary Fuel Cell Power Systems- Safety

CSA/ANSI FC 1:21/CSA C22.2

NO. 62282-3-100:21

Z21.1/CSA 1.1—~~2016~~ **2018** Household Cooking Gas Appliances

Z21.8—(~~R2012~~) 94/ R2017 Installation of Domestic Gas Conversion Burners 919.1

ASHRAE

ASHRAE

1791 Tullie Circle, NE

Atlanta, GA 30329

Standard Referenced
reference in code
number Title section number

~~ASHRAE—2017~~ ASHRAE— 2021 ASHRAE Fundamentals Handbook 603.2

15~~—~~—~~2019~~ 2022 Safety Standard for Refrigeration Systems 1101.6, 1105.8, 1108.1

34-~~-2019~~ 2022 Designation ~~and Safety~~ Classification of Refrigerants 202, 1102.2.1, 1103.1

62.1—~~2019~~ 2022 Ventilation for Acceptable Indoor Air Quality 403.3.1.1.2.3.2

90.1~~- 2016~~ 2022 Energy Standard for Buildings Except Low-Rise Residential Buildings

170—~~2017~~ 2021 Ventilation of Health Care Facilities 407

|  |
| --- |
| Standard Practice for Inspection and Maintenance of Commercial Building HVAC |
| Systems ?? not sure where this one came from |

~~180-2012~~ 180-2018

ANSI/AMCA 210-

ANSI/ASHRAE 51—07 Laboratory Methods of Testing Fans for Aerodynamic Performance Rating 403.3.2.4

ASME

American Society of Mechanical Engineers

Three Park Avenue

New York, NY 10016-5990

Standard Referenced
reference in code
number Title section number

A112.4.1—2009(R2019) Water Heater Relief Valve Drain Tubes

B1. 13M ~~2006~~ 2020 Metric Screw Threads: M Profile

B1.1 ~~2003~~ 2024 Unified Inch Screw Threads, UN and UNR Thread Form

B1.20.1—~~2013~~ (R2018) ~~2019~~ 2023 Pipe Threads, General Purpose (Inch) 1203.3.5, 1303.3.3

B1. 20.3 ~~1976~~ 2023 Dryseal Pipe Threads, Inch

B16.3~~—~~2021 Malleable Iron Threaded Fittings, Classes 150 & 300 Table 1202.5

B16.5— ~~2017/2019~~ 2024 Pipe Flanges and Flanged Fittings: NPS 1/2 through NFPS 24 Metric/Inch Standard

B16.9—~~2018~~ 2023 Factory Made Wrought Steel Buttwelding Fittings Table 1202.5

B16.11~~—~~2021 Forged Fittings, Socket-welding and Threaded Table 1202.5

B16.15-~~2018~~ 2023 Cast Alloy Threaded Fittings ~~Classes 125 and 250~~ Table 1202.5

B16.18— ~~2018~~ 2023 Cast Copper Alloy Solder Joint Pressure Fittings 513.13.1, Table 1202.5
B16.22— ~~2018~~ 2023 Wrought Copper and Copper Alloy Solder Joint Pressure Fittings 513.13.1, Table 1202.5

B16.24— 2021 Cast Copper Alloy Pipe Flanges and Flanged Fittings: Class 150, 300,
  400, 600, 900, 1500 and 2500 Table 1202.5

B16.26- ~~2018~~ 2023 Cast Copper Alloy Fittings for Flared Copper Tubes Table 1202.5

B16.28—1994 Wrought Steel Buttwelding Short Radius Elbows and Returns Table 1202.5

B16.51— 2018 Copper and Copper Alloy Press-Connect Pressure Fittings Table 1202.5, Table 1302.3

B31.5- ~~2016~~/ ~~2019~~ 2022 Refrigeration Piping and Heat Transfer Components 1107.1

B31.9- ~~2020~~ 2023 Building Services Piping 1201.3

BPVC—~~2019~~ 2023 ASME Boiler & Pressure Vessel Code–~~07 Edition~~ (Sections 1,11,IV, V,&V1, V111) 1009.2, 1003.1, 1004.1, 1011.1

CSD-1— ~~2021~~ 2024 Controls and Safety Devices for Automatically Fired Boilers 1004.1

ASS~~E~~ P

American Society of Safety Engineers

~~1800 East Oakton Street~~

Des Plaines, IL 60018

Standard Referenced
reference in code
number Title section number

ANSI/ASSP Z359.1—2020 The Fall Protection Code 304.11

ASSE

American Society of Sanitary Engineering

901 Canterbury, Suite A

Westlake, OH 44145

Standard Referenced
reference in code
number Title section number

1017—2009 Performance Requirements for Temperature Actuated Mixing
  Values for Hot Water Distribution Systems 1002.2.2

1061—~~2015~~ 2020 Performance Requirements for Push Fit Fittings Table 1202.5

1079-~~2005~~ 2021 Performance Requirements for Dielectric Pipe Unions

ASTM

ASTM International

100 Barr Harbor Drive

West Conshohocken, PA 19428

Standard Referenced
reference in code
number Title section number

A53/A53M ~~2018~~ 2020 Specification for Pipe, Steel, Black and Hot-dipped,
  Zinc-coated Welded and Seamless Table 1202.4, Table 1202.5, Table 1302.3

A105/A105M ~~18~~ 2021 Standard Specification for Carbon Steel Forgings for Piping Applications

A106/A106M— ~~2018~~  2019a Specification for Seamless Carbon Steel Pipe for
  High-Temperature Service Table 1302.3, Table 1202.5,

 Table 1202.4

A126—04(~~2014~~)2019 Standard Specification for Gray Iron Castings for Valves, Flanges and Pipe Fittings Table 1202.5

A181/A181M~~- 14~~(2020) Standard Specification for Carbon Steel Forgings, for General- purpose Piping

A193/A193M- ~~19~~ 2020 Standard Specification for Alloy-Steel and Stainless Steel Bolting for High Temperature of High Pressure Service and Other Special Purpose Applications

A240/A240M-~~17~~ 20a Standard Specification for Chromium and Chromium ~~n~~ Nickel Stainless Steel Plate,Sheet, and Strip for Pressure Vessels and for General Applications.

A234/A234M— ~~18A~~ 2019 Standard Specification for Piping Fittings of Wrought Carbon Steel
  and Alloy Steel for Moderate and High Temperature Service Table 1202.5

A269-/A269M-15a 2019 Standard Specification for Seamless and Welded Austenitic Stainless Steel Tubing for General Services………..Table 1302.3

A254— ~~2010(2018~~) A254M-12(2019) Specification for Copper Brazed Steel Tubing Table 1202.4, Table 1302.3

A312/A312-~~17~~ 2021 Standard Standard Specification for Seamless, Welded, and Heavily Cold Worked Austenitics Stainless Steel Pipes……………………..Table 1302.3

A334/A334M-04a ( ~~2016~~ 2021) Standard Specification for Seamless and Welded Carbon and Alloy-steel Tubes for Low- temperature Service

A395/A395M-99~~(2014)~~ 2018 Standard Specification for Ferritic Ductile Iron Pressure-Retaining
  Castings for Use at Elevated Temperatures Table 1202.5

A420/A420M~~—2016~~ 2020 Specification for Piping Fittings of Wrought Carbon Steel
  and Alloy Steel for Low-Temperature Service Table 1202.5

A536—84(2014) Standard Specification for Ductile Iron Castings Table 1202.5

A539—99 Specification for Electric-resistance-welded Coiled Steel Tubing
  for Gas and Fuel Oil Lines Table 1302.3

B32—~~08(2014~~) 2020 Specification for Solder Metal 1203.3.3

B42—~~10~~ 2020 Specification for Seamless Copper Pipe, Standard Sizes 513.13.1, 1107.5.2, Table 1202.4,

Table 1302.3

B43—~~09~~ 2020 Specification for Seamless Red Brass Pipe, Standard Sizes 513.13.1, 1107.5.2,

Table 1202.4, Table 1302.3

B68/B68M—~~11~~ 19 Standard Specification for Seamless Copper Tube, Bright Annealed 513.13.1

B75/B75M—~~11~~ 2020 Specification for Seamless Copper Tube Table 1202.4, Table 1302.3

B88~~—2016~~ 2020 Specification for Seamless Copper Water Tube 513.13.1, 1107.5.3,

Table 1202.4, Table 1302.3

B135/B135M— 2017 Specification for Seamless Brass Tube Table 1202.4, Table 1302.3

B210/B210M- 19a Standard Specification for Aluminum and Aluminum-Alloy Drawn Seamless Tubes

B251/B251M- 2017 Specification for General Requirements for Wrought Seamless
   Copper and Copper-alloy Tube 513.13.1, Table 1202.4

 B280—~~2018~~ 2020 Specification for Seamless Copper Tube for Air Conditioning
  and Refrigeration Field Service 513.13.1, 1107.5.3, Table 1302.3

B302—2017 Specification for Threadless Copper Pipe, Standard Sizes Table 1202.4, Table 1302.3

B813~~—~~2016 Specification for Liquid and Paste Fluxes for Soldering of
~~B819—~~— ~~2018~~ 19 Standard Specification for Seamless Copper Tube for Medical Gas Systems

  ~~Copper and Copper Alloy Tube~~ 1203.3.3

B828— 2016 Practice for Making Capillary Joints by Soldering of Copper and Copper Alloy Tube and Fittings

C315—~~2007~~ ~~-~~ 2021 Specification for Clay Flue Liners and Chimney Pots 801.16.1, Table 803.10.4

C411—~~2017~~ 2019 Test Method for Hot-surface Performance of High-temperature
  Thermal Insulation 602.2.1.8, 604.3

D56~~—~~2016A Test Method for Flash Point by Tag Closed Cup Tester 202

D93—~~2018~~ 2020 Test Method for Flash Point of Pensky-Martens Closed Cup Tester 202

D1527—99(2005) Specification for Acrylonitrile-Butadiene-Styrene (ABS) Plastic Pipe,
  Schedules 40 and 80 Table 1202.4

D1693- 15e1 Test Method for Environmental Stress-Cracking of Ethylene Plastics

D1785—15E1 Specification for Poly (Vinyl Chloride)(PVC) Plastic Pipe,
  Schedules 40, 80 and 120 Table 1202.4, Table 1210.4

D2235— 2004(2016) Specifications for Solvent Cement for Acrylonitrile-Butadiene-
  Styrene (ABS) Plastic Pipe and Fittings 1203.3.4

D2241—~~15~~ 2020 Specification for Poly (Vinyl Chloride)(PVC)
  Pressure-rated Pipe (SDR-Series) Table 1202.4, Table 1210.4

D2412— ~~2011/ 2018(~~ 2021) Test Method for Determination of External Loading Characteristics
   of Plastic Pipe by Parallel-plate Loading 603.8.3

D2464—15 Standard Specification for Threaded Poly(Vinyl Chloride) (PVC)
  Plastic Pipe Fittings, Schedule 80 Table 1210.5

D2466—~~2017~~ 2021 Specification for Poly (Vinyl Chloride)(PVC)
  Plastic Pipe Fittings, Schedule 40 Table 1202.5, Table 1210.5

D2467—~~15~~ 2020 Specification for Poly (Vinyl Chloride)(PVC)
  Plastic Pipe Fittings, Schedule 80 Table 1202.5, Table 1210.5

D2564~~-~~ ~~2012(2018)~~ 2020 Specification for Solvent Cements for Poly (Vinyl Chloride) (PVC)
   Plastic Piping Systems 1203.3.4

D2657— 2007(2015) Standard Practice for Heat Fusion Joining of Polyolefin
  Pipe and Fittings 1210.6.6.1

D2661—01 Acrylonitrile-Butadiene-Styrene (ABS) Schedule 40 Plastic Drain,
  Waste, and Vent

 Pipe and Fittings Table 515.2A

D2665—01 Poly (Vinyl Chloride) (PVC) Plastic Drain, Waste, and Vent Pipe and Fittings Table 515.2A

D2683—~~14~~ 2020 Specification for Socket-type Polyethylene Fittings for Outside
  Diameter-controlled Polyethylene Pipe and Tubing Table 1210.5, 1210.6.6.1

D2737—~~12A~~ 2021 Standard Specification for Polyethylene (PE) Plastic Tubing Table 1210.4

D2846/D2846M—2017BE1 Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)
  Plastic Hot and Cold Water Distribution Systems Table 1210.4,

Table 1202.4, 1203.3.4, Table 1210.5

D2949—97 3.25-in. Outside Diameter Poly (Vinyl Chloride) (PVC) Plastic Drain,
  Waste, and Vent Pipe and Fittings Table 515.2A, 515.2B

D2996—2017 Specification for Filament-wound Fiberglass
  (Glass Fiber Reinforced Thermosetting Resin) Pipe Table 1302.3

D3035—~~15~~ 2021 Specification for Polyethylene (PE) Plastic Pipe (DR-PR)
  Based on Controlled Outside Diameter Table 1210.4

D3261—2016 Specification for Butt Heat Fusion Polyethylene (PE) Plastic Fittings
  for Polyethylene (PE) Plastic Pipe and Tubing Table 1210.5, 1210.6.6.1

D3278—~~1996(2011)~~ 2021 Test Methods for Flash Point of Liquids by Small Scale Closed-cup Apparatus 202

D3309—96a(2002) Specification for Polybutylene (PB) Plastic Hot and
  Cold Water Distribution Systems 1203.10.1

D3311—94 Drain, Waste, and Vent (DWV) Plastic Pipe Fittings Patterns Table 515.2B

E84—2018B Standard Test Method for Surface Burning Characteristics of Building Materials 202, 510.9, 602.2, 602.2.1, 602.2.1.6, 602.2.1.6.1, 602.2.1.6.2,
602.2.1.6.3, 602.2.1.7, 602.2.1.8, 604.3, 1204.1

E119—~~2018B~~ 2020 Test Method for Fire Tests of Building Construction
  and Materials 607.3.1, 607.5.2, 607.5.5, 607.6.1, 607.6.2.1

E136— 2019a Test Method for Behavior of Materials in a Vertical
  Tube Furnace at 750 Degrees C 202

E814— 2013A(2017 Standard Test Method for Fire Tests of Through-penetration Fire Stops 506.3.11.2, 506.3.11.3

E1509— 2012(2017) Specification for Room Heaters, Pellet Fuel-burning Type 904.1

E2231—~~2018~~ 2019 Standard Practice For Specimen Preparation and Mounting of Pipe and
  Duct Insulation Materials to Assess Surface Burning Characteristics 604.3, 1204.1

E2336—~~2016~~  2020 Standard Test Methods for Fire Resistive Grease Duct Enclosure Systems 506.3.6, 506.3.11.2,

602.2.1.8

F409—02 Thermoplastic Accessible and Replaceable Plastic Tube and Tubular Fittings Table 515.2B

F437—~~15~~ 2021 Specification for Threaded Chlorinated Poly (Vinyl Chloride)
  (CPVC) Plastic Pipe Fittings, Schedule 80 Table 1210.5

F438—2017 Specification for Socket Type Chlorinated Poly (Vinyl Chloride)
  (CPVC) Plastic Pipe Fittings, Schedule 40 Table 1202.5, Table 1210.5

F439—~~13~~ 2019 Specification for Socket Type Chlorinated Poly (Vinyl Chloride)
  (CPVC) Plastic Pipe Fittings, Schedule 80 Table 1202.5, Table 1210.5

F441/F441M—~~15~~ 2020 Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)
  Plastic Pipe, Schedules 40 and 80 Table 1202.4, Table 1210.4

F442/F442M—13E1 Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)
  Plastic Pipe (SDR-PR) Table 1202.4, Table 1210.4

F493—~~14~~  2020 Specification for Solvent Cements for Chlorinated Poly
  (Vinyl Chloride) (CPVC) Plastic Pipe and Fittings 1203.3.4

F628-01 Acrylonirile-Butadiene-Styrene (ABS)Schedule 40 Plastic Drain, Waste, and Vent Pipe with Cellular Core………………………………………………………….Table 515.2A

D2949—97 3.25-in. Outside Diameter Poly (Vinyl Chloride) (PVC) Plastic Drain,
  Waste, and Vent Pipe and Fittings Table 515.2A, 515.2B

F714—~~13~~ 2021a Standard Specification for Polyethylene (PE) Plastic Pipe
  (SDR-PR) based on Outside Diameter Table 1210.4

F876—2018A Specification for Cross-linked Polyethylene (PEX) Tubing Table 1202.4, Table 1210.4

F877—2018A Specification for Cross-linked Polyethylene (PEX)
  Hot- and Cold-Water Distribution Systems Table 1202.4, Table 1202.5,

Table 1210.4, Table 1210.5

F891—00 Coextruded Poly (Vinyl Chloride) (PVC) Plastic
  Pipe with Cellular Core Table 515.2A, Table 515.2B

 F1055—2016A Specification for Electrofusion Type Polyethylene Fittings for
  Outside Diameter Controlled Polyethylene and
  Cross-linked Polyethylene Pipe and Tubing Table 1210.5, 1210.6.6.2

ASTM—continued

F1281—2017 Specification for Cross-linked Polyethylene/Aluminum/Crosslinked
  Polyethylene (PEX-AL-PEX) Pressure Pipe Table 1202.4

F1282—2017 Standard Specification for Polyethylene/Aluminum/
  Polyethylene (PE-AL-PE) Composite Pressure Pipe Table 1202.4. Table 1210.4,

Table 1210.5

F1476—07(~~2013)~~ 2019 Specification for Performance of Gasketed Mechanical
  Couplings for Use in Piping Applications Table 1202.5, 1203.3.7

F1548— 2001(12018) Standard Specification for the Performance of Fittings for Use with
   Gasketed Mechanical Couplings Used in Piping Applications Table 1202.5

F1807—2018 Standard Specification for Metal Insert Fittings Utilizing a Copper Crimp
   Ring for SDR 9 Cross-linked Polyethylene (PEX) Tubing and SDR9
   Polethylene of Raised Temperature (PE-RT) Tubing Table 1202.5, Table 1210.5

F1924—~~12~~ 2019 Standard Specification for Plastic Mechanical Fittings for Use on Outside
  Diameter Controlled Polyethylene Gas Distribution Pipe and Tubing 1210.6.6.3

F1960—2018 Specification for Cold-Expansion Fittings with PEX Reinforcing Rings
  for Use with Cross-linked Polyethylene (PEX) Tubing Table 1202.5, Table 1210.5

F1974—09(2015) Standard Specification for Metal Insert Fittings for Polyethylene/
  Aluminum/Polyethylene and Cross-linked Polyethylene/Aluminum/
  Cross-linked Polyethylene Composite Pressure Pipe Table 1202.5

F2080—~~16~~ 2019 ~~Specification for Cold-Expansion Fittings with Metal Compression-~~
 ~~Sleeves for Cross-linked Polyethylene (PEX) Pipe~~ Table 1210.5

 Standard Specification for Cold-Expansion Fittings with Metal Compression-Sleaves for Crosslinked Polyethylene (PEX) Pipe and SDR( Polyethylene of Raised Temperature (PE-RT) Pipe

 F2098—~~2015~~ 2018 Standard Specification for Stainless Steel Clamps for Securing SDR9 Cross-linked Polyethylene (PEX)Tubing and SDR9 Polyethylene of Raised Temperature (PE-RT) to Metal Insert and Plastic Insert Fittings
  Polyethylene (PEX) Tubing to Metal and Plastic Insert Fittings Table 1202.5

F2159—~~2018~~ 2021 Standard Specification for Plastic Insert Fittings Utilizing a Copper Crimp
 Ring or Alternate Stainless Steel Clamps for SDR9 Cross-linked Polyethylene (PEX) Tubing and SDR9 Polyethylene of Raised Temperature (PE-RT) Tubing Table 1210.5, Table 1202.5

F2389—2017A Specification for Pressure-rated Polypropylene Piping Systems Table 1210.4, 1203.15.1,

1210.6.7.1, Table 1210.5,
Table 1202.4, Table 1202.5

F2434—~~14~~ 2019 Standard Specification for ~~Metal~~ Plastic Insert Fittings Utilizing a  Copper Crimp ring for SDR9 Cross-linked Polyethylene (PEX) Tubing and SDR9 Cross-linked Polyethylene/Aluminum/
  Cross-linked Polyethylene (PEX-AL-PEX) Tubing Table 1210.5

F2623—~~14~~ 2019 Standard Specification for Polyethylene of Raised
  Temperature (PE-RT) ~~SDR 9 Tubing1~~ Systems for Non-Potable Water Applications Table 1202.4, Table 1210.4

F2735— 2009(2016) Standard Specification for Plastic Insert Fittings for SDR 9
  Cross-linked Polyethylene (PEX) and Polyethylene of Raised
  Temperature (PE-RT) Tubing Table 1202.5

F2769—2018 Standard Specification for Polyethylene or Raised Temperature (PE-RT) Plastic Hot-and Cold -water Tubing and Distributing Systems Polyethylene of Raised Temperature (PE-RT) Plastic Hot- and
  Cold-water Tubing and Distribution Systems Table 1202.4, Table 1202.5

F3226-2017 Standard Specification for Metallic Press-Connect Fittings for Piping and Tubing Systems…………………………………………………………………………………………. Table 1302.3

F2806—~~10(2015~~) 2020 Standard Specification for Acrylonitrile-Butadiene-Styrene

F2855—~~12~~ 2019 Standard Specification for Chlorinated Poly(Vinyl Chloride)/Aluminum/Chlorinated Poly(Vinyl Chloride) (CPVC-AL-CPVC) Composite Pressure Tubing

F3253—~~2017~~ 2019 : Standard Specification for Crosslinked Polyethylene (PEX) Tubing with Oxygen Barrier for Hot - and Cold - Water Hydronic Distribution Systems

AWS

American Welding Society

8669 NW 36 Street, #130

Doral, FL 33166

Standard Referenced
reference in code

A5.8/A5.8 ~~2011-AMD1~~ 2019 Specifications for Filler Metals for Brazing and Braze Welding 1203.3.1, 1303.3.1

AWWA

American Water Work Association

6666 West Quincy Avenue

Denver, CO 80235

Standard Referenced
reference in code
number Title section number

C901—~~16~~ 2020 Polyethylene (PE) Pressure Pipe and
  Tubing, 3/4 in. (19 mm) through 3 in. (76mm) for Water Service Table 1210.4

C110/A21.10—~~12~~ 2021 ~~Standard for~~ Ductile Iron & Gray Iron Fittings Table 1202.5

C115/A21.15—~~11~~ 2020 ~~Standard for~~ Flanged Ductile-Iron Pipe with Ductile Iron or Grey-Iron
  Threaded Flanges Table 1202.4

C151/A21.51— 17 Ductile-iron Pipe, Centrifugally Cast Table 1202.4

C153/A21.53—~~11~~ 2019 Standard for Ductile-Iron Compact Fittings for Water Service Table 1202.5

CSA

CSA Group

8501 East Pleasant Valley Road

Cleveland, OH 44131-5516

Standard Referenced
reference in code
number Title section number

B137.1—~~17~~ 2023 Polyethylene (PE) Pipe, Tubing and Fittings for Cold Water
  Pressure Services Table 1202.4, Table 1210.4, Table 1210.5

B137.2—~~17~~ 2023 Polyvinylchloride (PVC) Injection-moulded Gasketed Fittings for
  Pressure Applications Table 1210.5

B137.3—~~17~~ 2023 Rigid ~~Poly (Vinyl Chloride)~~ polvinylchloride (PVC) Pipe ~~for~~  and Fittings for Pressure Applications Table 1210.5

B137.5—~~16~~ 2023 Cross-linked Polyethylene (PEX) Tubing Systems for
  Pressure Applications Table 1210.4, Table 1210.5

 B137.6—~~17~~ 2023 Chlorinated Polyvinylchloride (CPVC) Pipe, Tubing and Fittings for Hot- and
  Cold-water Distribution Systems Table 1210.5

B137.9—~~17~~ 2023 Polyethylene/Aluminum/Polyethylene (PE-AL-PE)
  Composite Pressure-pipe Systems Table 1210.4, Table 1210.5, Table 1202.4

B137.10—~~17~~ Cross-linked Polyethylene/Aluminum/Cross-linked Polyethylene
2023  (PEX-AL-PEX) Composite Pressure-Pipe Systems Table 1202.4

ANSI CSA/IGSHPA C448 Series—

16 (R2021) Design and Installation of ground source heat pump systems for commercial and residential buildings.

CAN/CSA 2002  Systems—First Edition Table 1210.4, Table 1210.5

CSA B137.11—~~2017~~ 2023 Polypropylene (PP-R) Pipe and Fittings for Pressure Applications Table 1210.4, Table 1210.5

B137.18 -~~17~~ 2023 Polyethylene of Raised Temperature Resistance (PE-RT) Tubing Systems for Pressure Applications

~~ANSI CSA FC1—2014~~ Fuel cell technologies - Part 3-100: Stationary fuel cell power systems-Safety

CSA/ANSI FC1:21/C22.2

 No. 62282-2-100:21—

~~ANSI/CSA FC1- 2014~~  Fuel cell technologies - Part 3-100: Stationary fuel cell power systems-Safety

CSA/ANSI FC 1:21/CSA C22.2

NO. 62282-3-100:21

CAN/CSA B 181.1—99 ABS Drain, Waste, and Vent Pipe and Pipe Fittings Tables 515.2A, 515.2B

CAN/CSA B 181.3—99 Polyolefin Laboratory Drainage Systems with Revisions
  through

 October 1990 Table 515.2A

CSA C22.2 No. 218.1—13(R2017) Spas, Hot Tubs and Associated Equipment 916.1

CSA C22.2 No. 236—15 Heating and Cooling Equipment 916.1

CAN/CSA C448 Series—16 Design and Installation of Earth Energy Systems Table 1210.4, Table 1210.5

~~CAN~~/CSA/C22.2 No. 60335-2-40—2019 Household and Similar Electrical Appliances—Safety—Part 2-40:
  Particular Requirements for Electrical Heat Pumps, Air-Conditioners and
  Dehumidifiers – ~~3rd Edition~~

DOL

Department of Labor

Occupational Safety and Health Administration

c/o Superintendent of Documents

US Government Printing Office

Washington, DC 20402-9325

Standard Referenced
reference in code
number Title section number

29 CFR Part 1910.1000 (2015) Air Contaminants 502.6

29 CFR Part 1910.1025 (2015) Toxic and Hazardous Substances 502.19

Florida Codes

Florida Building Commission

c/o Florida Department of Business and Professional Regulation

 Building Codes and Standards

2601 Blair Stone Road

Tallahassee, Florida 32399

Standard Referenced
reference in code
number Title section number

FBC-B— Eighth Edition ~~(~~2023) Florida Building Code, Building 201.3, 202, 301.7, 301.15, 301.16, 301.17, 301.18, 302.1,

302.2,

 304.8, 304.11, 306.5.1, 308.4.2.2, 308.4.2.4,

401.4, 401.5, 406.1, 501.3, 501.3.2, 502.10, 502.10.1, 502.10.2, 504.2, 504.10,

505.3, 506.3.3, 506.3.11, 506.3.13.2, 506.4.2, 509.1,

510.5, 510.7, 510.8,

511.1.5,

513.1, 513.2, 513.3, 513.4.3, 513.5, 513.5.3,

513.6.2, 513.6.3, 513.10.5,

513.11, 513.12, 513.12.3, 516.1, 601.3, 602.2, 602.3, 602.4, 603.1,

603.7, 603.13

, 603.18.2, 607.1.2, 607.2.1, 607.3.3.1, 607.3.3.2, 607.5.1, 607.5.2,

607.5.3, 607.5.4, 607.5.5,

 607.5.5.1, 607.5.6, 607.6, 607.6.2, 607.6.3, 701.2,

 801.3, 801.16.1,

 801.18.4, 902.1, 908.3, 908.4, 910.3, 924.1, 925.1, 926.1,

927.2, 928.1

, 1004.6, 1105.1, 1206.4, 1210.8.2, 1305.2.1, 1402.4, 1402.4.1

,

FBC-EC— Eighth Edition (2023) Florida Building Code, Energy Conservation 301.2, 303.3, 312.1, 401.2,

514.1, 604.1, 1204.1, 1204.2

FBC-FG— Eighth Edition (2023) Florida Building Code, Fuel Gas 201.3, 301.6, 701.1, 801.1,

901.1, 906.1, 926, 1101.5

FBC-P— Eighth Edition (2023) Florida Building Code, Plumbing 201.3, 301.11, 307.2.2, 512.2, 908.5, 928, 928.1,

1002.1, 1002.2,1002.3,

1005.2, 1006.6, 1008.2, 1009.3,

1101.4,

 1201.1, 1206.2, 1206.3, 1210.8.1, 1401.2

FFPC—Eighth Edition (2023) Florida Fire Prevention Code 201.3, 310.1, 311.1, 502.4, 502.5, 502.7.2, 502.8.1, 502.9.1,

502.9.5, 502.9.8, 502.9.11, 502.10, 502.10.3, 502.16.2.2, 509.1,

 510.2.1, 510.2.2, 510.5, 511.1.1,

 513.1, 513.2, 513.6.3,

513.12, 513.15, 513.16, 513.17, 513.18, 513.19, 606.2.1, 606.4.1, 908.7,

924, 926, 1101.9, 1105.3, 1105.9, 1106.6,

1301.1, 1301.2, 1301.5

Florida Statutes Ch. 554 Boiler Safety Act 1001.1

FS

Federal Specifications\*

General Services Administration

7th & D Streets

Specification Section, Room 6039

Washington, DC 20407

Standard Referenced
reference in code
number Title section number

WW-P-325B (1976) Pipe, Bends, Traps, Caps and Plugs; Lead (for Industrial Pressure
  and Soil and Waste Applications) Table 1202.4
 \*Standards are available from the Supt. of Documents, U.S. Government Printing Office,
  Washington, DC 20402-9325

IIAR

International Institute of Ammonia Refrigeration

1110 North Glebe Road

Arlington, VA 22201

Standard Referenced
reference in code
number Title section number

|  |
| --- |
| ANSI/IIAR 2—2014 , |
| Addendum A |

 Safe Design of Closed-circuit Ammonia Refrigeration Systems 1101.6, 1105.6.3

MSS

Manufacturers Standardization Society of the Valve & Fittings Industry, Inc.

127 Park Street, N.E.

Vienna, VA 22180

Standard Referenced
reference in code
number Title section number

ANSI SP 58 ~~2018~~ 2023 Pipe Hangers and Supports—Materials Design and Manufacture,
  Selection, Application and Installation 305.4

NAIMA

North American Insulation Manufacturers Association

44 Canal Center Plaza, Suite 310

Alexandria, VA 22314

Standard Referenced
reference in code
number Title section number

AH116—09 Fibrous Glass Duct Construction Standards 603.5, 603.9

NBBI

National Board of Boiler and Pressure Vessel Inspectors

1055 Crupper Avenue

Columbus, OH 43229-1183

Standard Referenced
reference in code
number Title section number

NBIC—~~2017~~ 2023 National Board Inspection Code, Part 3(ANSI/NB23) 1003.3

NFPA

National Fire Protection Association

1 Batterymarch Park

Quincy, MA 02169-7471

Standard Referenced
reference in code
number Title section number

2- 20

 Hydrogen Technologies Code 502.16.1

30A—~~21~~ 2024 Code for Motor Fuel-dispensing Facilities and Repair Garages 304.6

31—20 Standard for the Installation of Oil-burning Equipment 701.1, 801.2.1, 801.18.1,

801.18.2, 920.2, 922.1, 1308.1

37—~~18~~ 2021 Standard for the Installation and Use of Stationary
  Combustion Engines and Gas Turbines 915.1, 915.2

56—17 56—20 Standard for Fire and Explosion Prevention during Cleaning and Purging of Flammable Gas Piping Systems

58—~~20~~ 2023 Liquefied Petroleum Gas Code 502.9.10

69—19 Standard on Explosion Prevention Systems 510.9.3

70—20~~17~~ 20 National Electrical Code 301.10, 306.3.1, 306.4.1, 306.5.2, 511.1.1,

513.12.2, 602.2.1.1, 927.2, 1104.2.2, 1106.3, 1106.4

72—~~19~~ 2022 National Fire Alarm and Signaling Code 606.3

80—~~19~~ 2022 Standard for Fire Doors and Other Opening Protectives 607.4.1.2

82—19 Standard on Incinerators and Waste and Linen Handling Systems and Equipment 601.1

85—~~19~~ 2023 Boiler and Combustion Systems Hazards Code 1004.1

90A—15 Standard for the Installation of Air-Conditioning and Ventilating Systems 606.2.1

91—20Exhaust Systems for Air Conveying of Vapors, Gases, Mists and

Noncombustible Particulate Solids 502.9.5.1, 502.17

92—~~18~~ 2021 Standard for Smoke Control Systems 513.7, 513.8

96—~~20~~ 2024 Standard for Ventilation Control and Fire Protection of Commercial
  Cooking Operations 507.1

99- ~~21~~ 2024 Health Care Facilities Code

105—~~19~~ 2022 Standard for Smoke Door Assemblies and Other Opening Protectives 607.4.1.2

211—~~19~~ 2022 Standard for Chimneys, Fireplaces, Vents and Solid Fuel-burning Appliances 806.1

 262—~~19~~ 2023 Standard Method of Test for Flame Travel and Smoke of Wires
 and Cables for Use in Air-handling Spaces 602.2.1.1

 286—19 Standard Methods of Fire Tests for Evaluating Contribution
  of Wall and Ceiling Interior Finish to Room Fire Growth 602.2.1.6

704—~~17~~ 2022 Standard System for Identification of the Hazards of
  Materials for Emergency Response 502.8.4, Table 1103.1, 510.1

853—20 Standard on Installation of Stationary Fuel Cell Power ~~Plants~~ Systems 924.1

NSF

NSF International

789 Dixboro Road, P. O. Box 130140

Ann Arbor, MI 48113-0140

Standard Referenced
reference in code
number Title section number

14- ~~2017~~ 2020 Plastic Piping System Components and Related Materials

NSF 358-1— ~~2017~~ 2021 Plastic Piping System Components and Related Materials 301.4

NSF 358-2— ~~2017~~ Polyethylene Pipe and Fittings for Water Based Ground Source
2021 “Geothermal” Heat Pump Systems Table 1210.4, Table 1210.5

358-3 ~~2016~~ 2021 Cross-linked Polyethylene (PEX) Pipe and Fittings for Water-based Ground-Source (Geothermal) Heat Pump Systems

NSF 358-4-~~2017~~:2018 Polyethylene of raised temperature (PE-RT) pipe and fittings for water-based ground-source (geothermal) heat pump systems

SMACNA

Sheet Metal & Air-Conditioning Contractors National Assoc., Inc.

4201 Lafayette Center Drive

Chantilly, VA 20151-1209

Standard Referenced
reference in code
number Title section number

~~SMACNA/ANSI—~~

ANSI/SMACNA 4th Edition- 2020 HVAC Duct Construction Standards-Metal and
  Flexible ~~4th Edition (ANSI~~)  ~~(ANSI/SMACNA 006-2020)~~ 504.10, 505.3, 510.9.1,

603.4, Table 603.4, 603.9, 603.10

SMACNA—~~10~~ 2021 Fibrous Glass Duct Construction Standards ~~7~~~~th~~ 8th Edition 603.5, 603.9

SMACNA-1st edition 2015 ~~SMACNA~~ Phenolic Duct Construction Standard ~~1st Edition ANSI~~ (ANSI/SMACNA 022-2015) 603.5.2

ANSI/SMACNA-~~2004 2011~~

2nd Edition 2013 Round Industrial Duct Construction Standards (ANSI/SMACNA 005-2013)

~~SMACNA/ANSI~~ ANSI/SMCNA ~~2011~~

 2nd Edition 2004 Rectangular Industrial Duct Construction Standards, ~~2~~~~nd~~ ~~Edition~~ (ANSI/SMACNA 002-2004)

UL

UL LLC

333 Pfingsten Road

Northbrook, IL 60062-2096

Standard Referenced
reference in code
number Title section number

17—2008 Vent or Chimney Connector Dampers for Oil-fired Appliances—
  with Revisions through September 2013 803.6

103—2010 Factory-built Chimneys, Residential Type and Building Heating Appliances—with revisions through  ~~March 2017~~ September 2021 805.2

109-97 Tube Fittings for Flammable and Combustible Fluids, Refrigeration Services and Marine use with revisions through May 2020

127—2011 Factory-built Fireplaces—with Revisions through  ~~July 2016~~ February2020805.7, 903.1, 903.3, 903.4

174—04 Household Electric Storage Tank Water Heaters—with revisions through ~~December 2016~~ October 2021 1002.1

180—2012 Liquid-level Indicating Gauges for Oil Burner Fuels and Other Combustible ~~Liquids~~ Liquids-with revisions through May 2017 1306.4

181—~~05~~ 2013 Factory-made Air Ducts and Air Connectors—~~with revisions through April 2017~~ 512.2, 603.5, 603.6.1,603.6.2, 603.9, 604.13

181A—2013 Closure Systems for Use with Rigid Air Ducts and Air Connectors - with revisions through March 2017 603.9

181B—~~2013~~2017 Closure Systems for Use with Flexible Air Ducts and Air Connectors - with revisions through March 2 603.9

197—10 Commercial Electric Cooking Appliances—with revisions through ~~September 2014~~ January 2018 917.1

207—2009 Refrigerant-containing Components and Accessories, Nonelectrical—
  with Revisions through ~~June 2014~~ January 2020 1101.2

263—2011 ~~Standard for~~ Fire Test of Building Construction and Materials—with revisions through ~~June 2015~~ March 2018 607.3.1, 607.5.2, 607.5.5, 607.6.1, 607.6.2.1

268—2016

 Smoke Detectors for Fire Alarm Systems-with revisions through ~~July 2016~~ October 2019 606.1

268A—2008 Smoke Detectors for Duct Application—with revisions through August ~~2016 2020~~

 606.1

343—~~2017 2008~~ Pumps for Oil-burning Appliances~~—~~with revisions throughDecember 2017 1302.7

378—2006 Draft Equipment—with revisions through ~~June 12, 2014~~ September 2013

 804.3, 804.3.8

391—2010 Solid-fuel and Combination-fuel Central and Supplementary Furnaces—
  with Revisions through ~~June 2014~~ August 2019 918.1

412—2011 Refrigeration Unit Coolers—with revisions through ~~September 2013~~ August 2018 1101.2

427-11 Standard for Refrigerating Units with Revisions though February 2014

471—2010 Commercial Refrigerators and Freezers—with revisions through ~~November 2018~~ September 2019 1101.2

484-14 ~~Standard for~~ Room Air Conditioners with revisions though May 2019

499—20 Standard for Electrical Heating Appliances—with revisions through ~~November 2014~~ February 2017 912.1, 923.1

507—2017 Electric Fans-with revisions through ~~August 2018~~ May 2020

 929

508—2018 Industrial Control Equipment~~—~~with revisions though July 2021 307.2.3

~~5~~36—~~2014~~ 2021 Flexible Metallic Hose 1302.8

555- 2006 Fire Dampers- with revisions through October 2016 ………………………………………607.3.1

555C—2014 Ceiling Dampers—with Revisions through  ~~May 2017~~ January 2021 607.3.1

 555S—2014 Smoke Dampers—with Revisions through October ~~2016~~ 2020 607.3.1

586—2009 High-Efficiency, Particulate, Air Filter Units—
  with Revisions through ~~September 2014~~ December 2017 605.2

UL—continued

641—2010 Type L Low-temperature Venting Systems—with Revisions through ~~June 2013~~ April 2018 802.1

705—2017 Power Ventilators—with revisions through  ~~October 2018~~ August 2021 504.5

710—2012 Exhaust Hoods for Commercial Cooking Equipment—with revisions through ~~November~~ ~~2013~~ June 2018 507.1, 507.2.6

710B—2011 Recirculating Systems—with Revisions through ~~August 2014~~ February 2019 507.2

 723—2018 Surface Burning Characteristics of Building Materials

 202, 510.9, 602.2, 602.2.1, 602.2.1.6,

 602.2.1.6.3, 602.2.1.7, 602.2.1.8, 604.3, 1204.1

726—95 Oil-fired Boiler Assemblies—with Revisions through October 2013 916.1, 1004.1

727—2018 Oil-fired Central Furnace 918.1

729—2003 Oil-fired Floor Furnaces—with revisions through November 2016 910.1

730—2003 Oil-fired Wall Furnaces—with revisions through November 2016 909.1

731—2018 Oil-fired Unit Heaters 920.1

732—2018 Oil-fired Storage Tank Water Heaters 1002.1

737—2011 Fireplace ~~Stoves—with revisions through August 2015~~ Stoves 905.1

762—2013 Outline of Investigation for Power Ventilators for Restaurant Exhaust 506.5.1, 506.5.2

791—2006 ~~Standard~~ Residential Incinerators—with Revisions through ~~November 2014~~ February 2021 907.1

834—2004 Heating, Water Supply and Power Boilers Electric—with revisions through  ~~September~~ ~~2018~~ July 2019 1004.1

842—~~2015~~ 2019 Valves for Flammable Fluids—~~with Revisions through May 2015~~ 1307.1

858—2014 Household Electric Ranges—with revisions through ~~June 2018~~ September 2019 917.1

864-2014 Control Units and Accessories for Fire Alarms- with revisions through ~~March 2018~~ May 2020

867—2011 Electrostatic Air Cleaners—with revisions through August  ~~2018~~ 2021 605.2

875—2009 Electric Dry Bath Heater—with revisions through September 2017 914.2

896—1993 Oil-burning Stoves—with revisions through November ~~2013~~ 2016 917.1, 922.1

900—2015 Air Filter Units 605.2

907—2016 Fireplace Accessories 902.2

923—2013 Microwave Cooking Appliances—with revisions through  ~~July 2017~~ August 2020 917.1

959—2010 Medium Heat Appliance Factory-built Chimneys—with Revisions through ~~June 2014~~ August 2019 805.5

1240- 2005 Electric Commercial Clothes-Drying Equipment- with revisions through ~~March 2019~~ September 2021

1046—2010 Grease Filters for Exhaust Ducts—with revisions through ~~January 2012~~ April 2017 507.2.8

1240—2005 Electric Commercial Clothes Drying Equipment with revisions through ~~March 2018~~ September 2021

 913.1

1261—~~2016~~ 2001 Electric Water Heaters for Pools and Tubs—with revisions through September 2017 916.1

1453—2016 Electric Booster and Commercial Storage Tank Water Heaters—with revisions through May 2018

 1002.1

1369-18 ~~Standard for~~ Aboveground Piping for Flammable and Combustible Liquids- with revisions through August 2020

1370-11 Unvented Alcohol Fuel Burning Decorative Appliances- with revisions through March ~~25~~, 2016

1479—2015 Fire Tests of Penetration Firestops—with Revisions through May 2021 506.3.11.2, 506.3.11.3

1482—2011 Solid-fuel Type Room Heaters—with Revisions through ~~August 2015~~ February 2020 905.1

1563—2009 Standard forElectric Spas, Hot Tubs and Associated Equipment with revisions through  ~~October 2017~~ September 2020 916.1

1618—2015 Wall Protectors, Floor Protectors and Hearth Extensions—
  with Revisions through January 2018 308.4.1, 903.2, 905.3

1777—~~2007~~ 2015 Chimney Liners—with Revisions through April ~~2014~~ 2019 801.16.1, 801.18.4

1812—2013 Ducted Heat Recovery Ventilators—with Revisions through  ~~July 2018~~

 April 2021 514.1

1815—2012 Nonducted Heat Recovery Ventilators—with revisions through  ~~July 2018~~ April 2021 514.1

1820—2004 Fire Test of Pneumatic Tubing for Flame and Smoke Characteristics—with revisions through ~~May 2013~~ July 2017

 602.2.1.3

1887—2004 Fire Tests of Plastic Sprinkler Pipe for Visible Flame and Smoke Characteristics—with revisions through  ~~July 2017~~ October 2021 602.2.1.2

1978—2010 Grease Ducts—with revisions through  ~~April 2017~~ October 2021 506.3.1.1, 506.3.2, 506.3.6, 506.5.2

1995—2015 Heating and Cooling Equipment—with revisions through ~~July 2015~~ August 2018 908.1, 911.1, 918.1, 918.2, 1101.2

1996—2009 Electric Duct Heaters—with revisions through  ~~July 2016~~ September 2021 911.1

2024—2014 ~~Safety Optical-Fiber~~ Cable Routing Assemblies and Communications Cable Raceway—with Revisions through August 2015 602.2.1.1

2043—2013 Fire Test for Heat and Visible Smoke Release for Discrete Products and their Accessories Installed in Air-handling Spaces—with revisions through July 2018…….602.2.1.4.2, 602.2.1.5

2075—2013 ~~Standard for~~ Gas and Vapor Detectors and Sensors-with revisions through ~~December 2017~~ August 2021 404.1

2158A—~~2018~~ 2021 ~~Outline of Investigation~~ for Clothes DryerTransition Duct~~-~~ with revisions through ~~April 2017~~ October 2021 504.8.3

2158 -~~2018~~ 2021 Electric Clothes Dryer 913.1

2162—2014 ~~Outline of Investigation for~~ Commercial Wood-fired Baking Ovens-Refractory Type with revisions through August 2019 917.1

2200—~~2012~~ 2020 Stationary Engine Generator Assemblies—~~with revisions through October 2015~~ 915.1

2221—2010 Tests of Fire Resistive Grease Duct Enclosure Assemblies 506.3.11.3

2518—2016 Air Dispersion Systems with revisions June 2021 603.17

2523—2009 Solid Fuel-fired Hydronic Heating Appliances, Water Heaters, and Boilers-with revisions through March 2018

 1002.1, 1004.1

2846—2014 Fire Test of Plastic Water Distribution Plumbing Pipe for Visible Flame and Smoke Characteristics-with revisions through ~~December 2016~~ January 2021

 602.2.1.7

8782-17 Outline of Investigation for Pollution Control Units for Commercial Cooking………….506.5.2

UL/CSA 60335-2-40—2019 Household and Similar Electrical Appliances—Safety—Part 2-~~40~~:
  Particular Requirements for ~~Electrical Heat Pumps, Air-Conditioners and~~
  ~~Dehumidifiers – 3rd Edition~~ Motor-Compressor

UL/CSA 60335-2-89-~~17~~: Household and Similar Electrical Appliances - Safety - Part 2-89: Particular Requirements for Commercial Refrigerating Appliances with an Incorporated or Remote Refrigerant Unit or Compressor