Page 1 of 7
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  19
Plumbing
Approved as Modified
TAC Recommendation
TAC:
 2
Total Mods for  
in
Approved as Modified
Plumbing
Plumbing
SubCode:
Ü
SubCode:
Fuel Gas
8‑Referenced Standards
Bryan Holland
Comment
Summary
Proponent
102.4
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs).
Mod #
 12028
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 8
Chapter

Section
Commission Action
SubCode:
Ü
SubCode:
Plumbing
1‑Scope And Administration
Bryan Holland
Comment
Summary
Proponent
102.4
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs) in Chapter 15. (Chapter 15 is not in the drop box above)
Mod #
 12029
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 1
Chapter

Section
Commission Action
Approved as Submitted
TAC Recommendation
TAC:
 9
Total Mods for  
in
Approved as Submitted
Plumbing
Plumbing
SubCode:
Ü
SubCode:
Fuel Gas
3‑General Regulations

Page 2 of 7
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  19
Plumbing
TAC:
 9
Total Mods for  
in
Approved as Submitted
Plumbing
Plumbing
Mod #
Proponent
Mo Madani
Section
Chapter
Summary
Comment

AS
AS/IC

304
Correlation with NFPA 54
 11740
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 3

Commission Action
4‑Gas Piping Installations
Mod #
Proponent
Jonathan Sargeant
Section
Chapter
Summary
Comment

AS
AS/IC

407.2
The proposed modification is to reverse the commission's action to permit plastic hangers for fuel gas piping.
 11719
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
3004‑Recommended Procedure for Safety Inspection of an Existing Application Installation
Mod #
Proponent
Joseph Eysie
Section
Chapter
Summary
Comment

AS
AS/IC

0.0
A minor code change replaces the term brass with “copper alloy in Appendix D.3 regarding gas piping and connection inspections.
 12116
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix D

Commission Action
SubCode:
Ü
SubCode:
Plumbing
6‑Water Supply and Distribution

Page 3 of 7
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  19
Plumbing
TAC:
 9
Total Mods for  
in
Approved as Submitted
Plumbing
Plumbing
Gary Kozan
Comment
Summary
Proponent
607.2
Adds a new requirement limiting the hot water distance for public lavatory faucets to 10 feet maximum
Mod #
 11747
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 6
Chapter

Section
Commission Action
7‑Sanitary Drainage
Mod #
Proponent
Michael Wilson
Section
Chapter
Summary
Comment

AS
AS/IC

717
Complete removal of Section 717
 11832
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 7

Commission Action
11‑Storm Drainage
Mod #
Proponent
Michael Weinbaum
Section
Chapter
Summary
Comment

AS
AS/IC

1106.2
Add row pertaining to 2.5" pipe to table 1106.2
 11881
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 11

Commission Action
SubCode:
Ü
SubCode:
Residential
24‑Fuel Gas

Page 4 of 7
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  19
Plumbing
TAC:
 9
Total Mods for  
in
Approved as Submitted
Plumbing
Plumbing
Mod #
Proponent
Mo Madani
Section
Chapter
Summary
Comment

AS
AS/IC

2407
Correlation with NFPA 54 and the 2024 I‑Code changes as approved by the Commission and as applicable.
 11736
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 24

Commission Action
Mod #
Proponent
Joseph Eysie
Section
Chapter
Summary
Comment

AS
AS/IC

0.0
A minor code change to Appendix D, Recommended Procedure for Safety Inspection of an Existing Appliance Installation, replaces "brass" with "copper alloy" in Appendix D.3 for gas piping and connection inspections.
 12114
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 24

Commission Action
30‑Sanitary Drainage
Mod #
Proponent
Michael Wilson
Section
Chapter
Summary
Comment

AS
AS/IC

3011
removal of Section P3011 in its entirety.
 11888
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 30

Commission Action
Denied
TAC Recommendation
TAC:
 6
Total Mods for  
in
Denied
Plumbing
Plumbing
SubCode:
Ü
SubCode:
Fuel Gas
1‑Scope and Administration

Page 5 of 7
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  19
Plumbing
TAC:
 6
Total Mods for  
in
Denied
Plumbing
Plumbing
Mod #
Proponent
Greg Burke
Section
Chapter
Summary
Comment

AS
AS/IC

101.2
Correlation for addition of three‑ and four‑ family dwellings to the scope.
 11787
AM
AM/IC
D/IC
D
Denied
W
Chapter 1

Commission Action
SubCode:
Ü
SubCode:
Plumbing
6‑Water Supply and Distribution
Timothy deCarion
Comment
Summary
Proponent
607.2
This is a conflict in the code. 50 feet is not the actual minimum length of piping allowed. The energy code is more stringent and uses charts. The real minimum length is in the energy code based on two possible methods of calculating water loss waiting on hot water.
Mod #
 11715
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 6
Chapter

Section
Commission Action
7‑Sanitary Drainage
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

717.4
On behalf of the Building Officials Association of Florida (BOAF), this modification addresses relining of the piping system when it comes to who evaluates the system.
 12192
AM
AM/IC
D/IC
D
Denied
W
Chapter 7

Commission Action
3206‑Proposed Construction Building Codes for Turf and Landscape Irragation Systems

Page 6 of 7
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  19
Plumbing
TAC:
 6
Total Mods for  
in
Denied
Plumbing
Plumbing
Mod #
Proponent
Cheryl Harris
Section
Chapter
Summary
Comment

AS
AS/IC

1
Update definition for low volume irrigation and add new document for preconstruction submittals.
 12198
AM
AM/IC
D/IC
D
Denied
W
Appendix F

Commission Action
14‑Subsurface Landscape Irrigation Systems
Mod #
Proponent
Cheryl Harris
Section
Chapter
Summary
Comment

AS
AS/IC

1400
New code for commercial and residential installation of irrigation systems. Builders in some areas are not able to obtain water permits due to water shortages. Lack of code allowing poor installs is one of the reasons for shortages 
 12107
AM
AM/IC
D/IC
D
Denied
W
Chapter 14

Commission Action
SubCode:
Ü
SubCode:
Residential
30‑Sanitary Drainage
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

3011.4
On behalf of the Building Officials Association of Florida (BOAF), this modification addresses relining of the piping system when it comes to who evaluates the system.
 12193
AM
AM/IC
D/IC
D
Denied
W
Chapter 30

Commission Action
Pulled of Consent by Interested Entity
TAC Recommendation

Page 7 of 7
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  19
Plumbing
TAC:
 2
Total Mods for  
in
Pulled of Consent by Interested Entity
Plumbing
Plumbing
SubCode:
Ü
SubCode:
Plumbing
7‑Sanitary Drainage
Michael Wilson
Comment
Summary
Proponent
718
The finished resin‑impregnated tube shall be continuous over the entire length of the installation or inversion run, with no gaps in coverage at branch or service connections.
Mod #
 11834
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Interested Entity
W
Chapter 7
Chapter

Pulled off consent by Mark Miller, Chris Cheek, Joanne Carroll and Kari Hebrank
TAC’s Final Action:
TAC – Plumbing - AS

Section
Commission Action
SubCode:
Ü
SubCode:
Residential
30‑Sanitary Drainage
Michael Wilson
Comment
Summary
Proponent
3012
The finished resin‑impregnated tube shall be continuous over the entire length of the installation or inversion run, with no gaps in coverage at branch or service connections.
Mod #
 11851
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Interested Entity
W
Chapter 30
Chapter

Pulled off consent by Mark Miller, Chris Cheek, Joanne Carroll and Kari Hebrank
TAC’s Final Action:
TAC – Plumbing - AS

Section
Commission Action
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 Triennial Original Modification 01/03/2025 ‑ 02/18/2025
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria
P