Page 1 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
Approved as Modified
TAC Recommendation
TAC:
 24
Total Mods for  
in
Approved as Modified
Special Occupancy
Special Occupancy
SubCode:
Ü
SubCode:
Building
1‑Scope and Administration
Rebecca Quinn obo FL Div Emerg Mgnt
Comment
Summary
Proponent
107.3.5
Certain documentation is required for construction in flood hazard areas: elevation to which Lowest Floors are elevated, the elevation to which dry floodproofing will extend, and design of dry floodproofing. Proposal specifies use of FEMA certificates specifically designed for those purposes.
Mod #
 11962
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 1
Chapter

Section
Commission Action
4‑Special Detailed Requirements Based on Use and Occupancy
Don Whitehead
Comment
Summary
Proponent
453
Correct metric distance.
Mod #
 11942
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
Don Whitehead
Comment
Summary
Proponent
453
Require an isolation room in the school clinic.
Mod #
 12015
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action

Page 2 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 24
Total Mods for  
in
Approved as Modified
Special Occupancy
Special Occupancy
James gregory
Comment
Summary
Proponent
449
Exempts Class 1 Mobile Units from review under this section.
Mod #
 12055
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
449
Revises verbiage for clarification of requirement.
Mod #
 12057
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
449
Add new section limiting the types of hospitals that can be designed or constructed in Florida.
Mod #
 12058
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
449
Revises this section to exclude exhaust fans from the impact and exclude items listed in 449.2.5.1 from the 30 feet restriction so that opening protection will include small missile impact requirements.
Mod #
 12060
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action

Page 3 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 24
Total Mods for  
in
Approved as Modified
Special Occupancy
Special Occupancy
James gregory
Comment
Summary
Proponent
449
Revises this section to exclude exhaust fans from the impact.
Mod #
 12061
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
449
Requires professional engineer or architect to design to meet wind load requirements of the FBC.
Mod #
 12068
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
450
Revises verbiage for clarification of requirement.
Mod #
 12072
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
450
Revises this section to exclude exhaust fans from the impact.
Mod #
 12080
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action

Page 4 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 24
Total Mods for  
in
Approved as Modified
Special Occupancy
Special Occupancy
James gregory
Comment
Summary
Proponent
450
Revises this section to exclude exhaust fans from the impact requirements and limit the height of protective enclosures to 30 feet above finished grade.
Mod #
 12081
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
450
Requires professional engineer or architect to design to meet wind load requirements of the FBC.
Mod #
 12082
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
450
Does not permit air ducts using fiberglass materials.
Mod #
 12084
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
464
Updates reference code for this occupancy/
Mod #
 12090
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action

Page 5 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 24
Total Mods for  
in
Approved as Modified
Special Occupancy
Special Occupancy
James gregory
Comment
Summary
Proponent
449
Updates code reference to Chapter 35.
Mod #
 12091
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
450
Updates code reference to Chapter 35.
Mod #
 12092
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
451
Updates code reference to Chapter 35.
Mod #
 12093
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
James gregory
Comment
Summary
Proponent
469
Updates code reference to Chapter 35.
Mod #
 12095
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
16‑Structural Design

Page 6 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 24
Total Mods for  
in
Approved as Modified
Special Occupancy
Special Occupancy
Rebecca Quinn obo FL Div Emerg Mgnt
Comment
Summary
Proponent
1612.4
Add provisions for structures in flood hazard areas other than buildings, including structures that are roofed but not walled. Such structures include pole barns, gazebos, platforms, boat shelters, and RV shade structures.
Mod #
 12017
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 16
Chapter

Section
Commission Action
Jaime Gascon
Comment
Summary
Proponent
1612.4
Provides reference to an acceptable test standard to qualify passive flood resistant products based on performance testing.
Mod #
 12034
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 16
Chapter

Section
Commission Action
SubCode:
Ü
SubCode:
Existing Building
4‑Repairs
Rebecca Quinn obo FL Div Emerg Mgnt
Comment
Summary
Proponent
401.5
For clarity, carry into other codes the change made in 8th to require elevation of exterior equipment and exterior appliances that are damaged by flood (see FBC EB Sec. 701.3 and FBCR Sec. R322.1.6).
Mod #
 12018
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
SubCode:
Ü
SubCode:
Residential
3‑Building Planning

Page 7 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 24
Total Mods for  
in
Approved as Modified
Special Occupancy
Special Occupancy
Rebecca Quinn obo FL Div Emerg Mgnt
Comment
Summary
Proponent
322.1.10
Certain documentation is required to be submitted for residential construction in flood hazard areas to document the elevation to which Lowest Floors are elevated. The proposal specifies use of the FEMA Elevation Certificate that is specifically designed for those purposes.
Mod #
 11963
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 3
Chapter

Section
Commission Action
SubCode:
Ü
SubCode:
Test Protocols
1‑N/A
Jaime Gascon
Comment
Summary
Proponent
204
New Testing Application Standard (TAS) 204 ‑ Flood Resistant Test Procedures for passive in place system.
Mod #
 12040
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
N/A
Chapter

Section
Commission Action
Approved as Submitted
TAC Recommendation
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy

Page 8 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment

AS
AS/IC

453.12.1
Clarify that roof assemblies not roof coverings are tested for fire resistance.
 11831
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

453
Revise definition of day labor projects due to statutory change.
 11934
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

453
Clarify definition of assembly.
 11935
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

453
This proposed SREF modification corrects a table number that was relocated in the previous code cycle and corrects a metric distance.
 11936
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action

Page 9 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

453
This proposed SREF modification changes definition to conform to statute.
 11937
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

453
To correct conflict with Rule.
 11938
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

453
Clarify fire alarm requirements.
 11940
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

453
Clarify glazing requirements.
 11943
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action

Page 10 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

453
Clarify where showers are required.
 11944
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

453
Clarify floor drain requirements.
 11945
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

453
Allow the HVAC systems to be used for the EHPA, instead of 2 cfm per square foot ventilation.
 11946
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

468
Allow single‑user shower rooms in place of male and female showers as authorized by HB 1521 (2023)
 12049
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action

Page 11 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Revises section for clarity.
 12051
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Coordinates this section with 449.2 by using the same verbiage. Deletes redundant information that is now provided in 449.2.
 12054
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Proves a new requirement for certain hospital outpatient facilities that render patients incapable of self‑evacuation.
 12056
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment

AS
AS/IC

468
Require an automated external defibrillator at each campus as required by HB 865 (2024).
 12063
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action

Page 12 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Revises verbiage to delete unenforceable word.
 12083
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Prohibits the use of the color red to designate critical circuit lighting inside a resident room.
 12085
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Revised verbiage that is duplicable and misleading.
 12086
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Removes definition no longer used in new construction.
 12087
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action

Page 13 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Removes areas that are no longer used in new construction.
 12088
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Removes the term of occupied resident areas.
 12089
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Clarifies what kind of renovation allows reduction of space standards.
 12097
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
scott waltz
Comment
Summary
Proponent
452
Modification creates standards for Advanced Birth Centers. As directed by statute, it references to the codes for ambulatory surgery centers as minimum standards. Additionally, other reference standards provide appropriate requirements for the postpartum care of the mother and infant.
Mod #
 12178
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action

Page 14 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

456.4.1.1
On behalf of the Building Officials Association of Florida (BOAF), this modification provides consistency between Building Code Sections 456.4.1.1 and 2903.3, and Section 403.3 of the Plumbing Code with regard to toilet facilities.
 12189
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
16‑Structural Design
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

1612.5
Modify for alternate resistance units for ultimate load. Proposed by FEMA as S126‑22. The companion RB142‑22, which did the same for the IRC, was carried forward for the FBC Residential as 111475.
 11960
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

Commission Action
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

1612.2
Editorial change to list of flood terms defined in Chapter 2 by (1) add “Limit of Moderate Wave Action” that was added to Sec 202 in the 8th Ed; and (2) add “Local Floodplain Management Ordinance” which was omitted when definitions 
 11970
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

Commission Action
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

1612.3
Current phrasing of Sec. 1612.3 implies a study/map other than or in addition to the FEMA study/map could be adopted. Modify to be explicit and match phrasing proposed for the FBC Residential.
 11972
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

Commission Action

Page 15 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
Dallas Thiesen
Comment
Summary
Proponent
1612.4.2
Modifies the requirements for pool equipment installed in Special Flood Hazard Zones.
Mod #
 11980
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 16
Chapter

Section
Commission Action
18‑Soils and Foundations
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

1805.1.2.1
Remove exception that allows below‑grade under‑floor spaces that meet certain requirements and limitations in a FEMA bulleting that also requires local ordinance adoption of those requirements. Below‑grade crawlspaces are rarely if 
 12022
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 18

Commission Action
30‑Elevators and Conveying Systems
Mod #
Proponent
Josh Phillips
Section
Chapter
Summary
Comment

AS
AS/IC

3005
Language clarification.
 11968
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 30

Commission Action
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

3006.2
On behalf of the Building Officials Association of Florida (BOAF), the intent of this modification is to further clarify the need to maintain the protection of exit access corridors when required to meet the fire‑resistance rating provisions of Section 
 12235
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 30

Commission Action

Page 16 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
35‑Referenced Standards
Mod #
Proponent
Josh Phillips
Section
Chapter
Summary
Comment

AS
AS/IC

35
See attachment.
 11923
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 35

Commission Action
SubCode:
Ü
SubCode:
Existing Building
2‑Definitions
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

202
Adds definition for “lowest floor” that was added to 2024 IEBC by EB50‑22.
 11959
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 2

Commission Action
SubCode:
Ü
SubCode:
Residential
2‑Definitions
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

202
Add two definitions used in the FBCR that were added to 2027 IRC by RB16‑22.
 11950
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 2

Commission Action
3‑Building Planning

Page 17 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 37
Total Mods for  
in
Approved as Submitted
Special Occupancy
Special Occupancy
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

302.1
Remove expectation to list FIRM panel numbers/dates (not in FBCB 1612.3). FEMA‑approved Model ordinance does not require listing panels/ dates. Specify the governing body (council/ commission) must adopt other study/maps, not AHJ 
 11974
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 3

Commission Action
4‑Foundations
Mod #
Proponent
Rebecca Quinn obo FL Div Emerg Mgnt
Section
Chapter
Summary
Comment

AS
AS/IC

408.7
Remove exception that allows below‑grade under‑floor spaces that meet certain requirements and limitations in a FEMA bulletin that also requires local ordinance adoption of those requirements. Below‑grade crawlspaces are rarely if ever used 
 12023
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Denied
TAC Recommendation
TAC:
 3
Total Mods for  
in
Denied
Special Occupancy
Special Occupancy
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

401
Adds language assure the requirements of this section are applied.
 12053
AM
AM/IC
D/IC
D
Denied
W
Chapter 4

Commission Action

Page 18 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 3
Total Mods for  
in
Denied
Special Occupancy
Special Occupancy
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Clarifies paragraph 449.4.2.2.6 and identifies the correct ASCE 7 adopted by the FBC.
 12059
AM
AM/IC
D/IC
D
Denied
W
Chapter 4

Commission Action
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Clarifies paragraph 450.4.2.2.6 and identifies the correct ASCE 7 adopted by the FBC.
 12076
AM
AM/IC
D/IC
D
Denied
W
Chapter 4

Commission Action
Pulled of Consent by Staff
TAC Recommendation
TAC:
 3
Total Mods for  
in
Pulled of Consent by Staff
Special Occupancy
Special Occupancy
SubCode:
Ü
SubCode:
Fuel Gas
3‑General Regulations
Rebecca Quinn obo FL Div Emerg Mgnt
Comment
Summary
Proponent
301.11
For clarity, carry into other codes the change made in 8th to require elevation of exterior equipment and exterior appliances that are damaged by flood (see FBC EB Sec. 701.3 and FBCR Sec. R322.1.6).
Mod #
 12020
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Staff
W
Chapter 3
Chapter

AC Action - More than one TAC - 

SP – AM (Primary)
P - D
Section
Commission Action
SubCode:
Ü
SubCode:
Mechanical

Page 19 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 3
Total Mods for  
in
Pulled of Consent by Staff
Special Occupancy
Special Occupancy
3‑General Regulations
Rebecca Quinn obo FL Div Emerg Mgnt
Comment
Summary
Proponent
301.16
For clarity, carry into other codes the change made in 8th to require elevation of exterior equipment and exterior appliances that are damaged by flood (see FBC EB Sec. 701.3 and FBCR Sec. R322.1.6).
Mod #
 12019
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Staff
W
Chapter 3
Chapter

TAC Action - More than one TAC - 

SP – AM (Primary)
M - D
Section
Commission Action
SubCode:
Ü
SubCode:
Residential
3‑Building Planning
Dallas Thiesen
Comment
Summary
Proponent
322.1.6
Updates requirements for pool and spa equipment installed in special flood hazard zones.
Mod #
 11984
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Staff
W
Chapter 3
Chapter

TAC Action – More than one TAC -
TAC - SP – AS (Primary)
TAC - S - D
Section
Commission Action
Pulled of Consent by Interested Entity
TAC Recommendation
TAC:
 1
Total Mods for  
in
Pulled of Consent by Interested Entity
Special Occupancy
Special Occupancy
SubCode:
Ü
SubCode:
Building
16‑Structural Design

Page 20 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
TAC:
 1
Total Mods for  
in
Pulled of Consent by Interested Entity
Special Occupancy
Special Occupancy
Rebecca Quinn obo FL Div Emerg Mgnt
Comment
Summary
Proponent
1612.4
Rectifies disconnect with the NFIP minimum requirements that was created in the 2024 IBC (see 11175/S116‑22 AMPC4). ASCE 24 has provisions for temporary structures (less than 180 days), which are Flood Design Class 1. They may be at‑grade and ‘wet floodproofed.’ FEMA proposing same for 2027 IBC.
Mod #
 11976
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Interested Entity
W
Chapter 16
Chapter

Pulled off consent by Rebecca Quinn
TAC’s Final Action:
TAC – SP – D
See alternate language

Section
Commission Action
Withdrawn
TAC Recommendation
TAC:
 1
Total Mods for  
in
Withdrawn
Special Occupancy
Special Occupancy
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Revises this section to exclude exhaust fans from the impact and exclude parts of equipment extending above the top of an enclosure that that is 30 feet above finish grade.
 12223
AM
AM/IC
D/IC
D
Withdrawn
W
Chapter 4

Commission Action
Search Criteria

Page 21 of 21
11/19/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  69
Special Occupancy
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 Triennial Original Modification 01/03/2025 ‑ 02/18/2025
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
SP