Page 1 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
Approved as Modified
TAC Recommendation
TAC:
 6
Total Mods for  
in
Approved as Modified
Swimming Pool
Swimming Pool
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Michael Weinbaum
Comment
Summary
Proponent
454
Allow longer vanishing edge lengths subject to certain conditions.
Mod #
 11886
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454.1
Clarify and rationalize requirements for fences and barriers between Wading pools or IWFs and other features.
Mod #
 11887
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454.1
Ensure that rules signs are clear
Mod #
 11891
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action

Page 2 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 6
Total Mods for  
in
Approved as Modified
Swimming Pool
Swimming Pool
Dallas Thiesen
Comment
Summary
Proponent
454.1.1
Expands the allowable munsel value range for contrasting makings in commercial swimming pools and spa.
Mod #
 11979
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
Dallas Thiesen
Comment
Summary
Proponent
454.2.6.3
Brings the FBC in line with the requirements of ANSI/PHTA 5 Standard.
Mod #
 11985
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

Section
Commission Action
SubCode:
Ü
SubCode:
Residential
45‑Private Swimming Pool
Dallas Thiesen
Comment
Summary
Proponent
4501.6.3
Brings the FBC in line with the requirements of ANSI/PHTA 5 Standard.
Mod #
 11986
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 45
Chapter

Section
Commission Action
Approved as Submitted
TAC Recommendation
TAC:
 33
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool

Page 3 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 33
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Michael Weinbaum
Comment
Summary
Proponent
454
No bathing load calculation for slides and IWFs.
Mod #
 11876
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action
Mod #
Proponent
Michael Weinbaum
Section
Chapter
Summary
Comment

AS
AS/IC

454
Bring in NSF 50 requirements for safety flooring systems, allow colored floors and walls in additional shallow areas.
 11877
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454
Clarify the lighting requirements and bring them more in line with the market and other codes.
Mod #
 11882
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454
Clarify the clearance requirements with regard to sloped entries.
Mod #
 11883
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action

Page 4 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 33
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
Michael Weinbaum
Comment
Summary
Proponent
454
Ensure UV treatment for spray features in wading pools.
Mod #
 11884
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454.1
Reduces required deck width at runouts to harmonize with ISPSC, manufacturer practice, and the Florida requirements for other swimming pool decks.
Mod #
 11890
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454
Clarify that feature pumps on IWFs do not require pH adjustment
Mod #
 11925
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454
Glitch fix, remove references to deleted provision
Mod #
 11928
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action

Page 5 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 33
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
Dallas Thiesen
Comment
Summary
Proponent
454.1.2.6
Allows for a sunshelf terminate into five feet of water or less. Allows a sunshelf to terminate in to depths greater than five feet of water if the sunself transitions to a bench first.
Mod #
 11973
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action
Dallas Thiesen
Comment
Summary
Proponent
454.1.1
Updates the definition of spa pool to better match with industry standards and practice.
Mod #
 11981
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.2
Updates and clarifies private pool definitions. Removes unnecessary terms.
 11982
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.6.6
Updates standard references and clarifies terminology for Suction Outlet Fitting Assemblies.
 11988
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action

Page 6 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 33
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.7.3
Eliminates manufacturing requirements covered in a referenced standard.
 11991
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.12.1
Updates the requirements for swimming pool and spa pressure pipping tests.
 11999
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.21.3
Updates the terms and standard references for Suction Outlet Fitting Assemblies.
 12001
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.21.5
Eliminates requirements that are already outlined in referenced standard ANSI/PHTA‑5.
 12003
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action

Page 7 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 33
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.14.2
Eliminates equipment manufacturing requirements that are no longer needed due to industry manufacturing standards and practice.
 12008
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.14.5
Eliminates equipment manufacturing requirements that are redundant and unnecessary due to modern manufacturing standards and practice.
 12010
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

454.2.16.1
Requires underwater lights on new residential pools to be low voltage.
 12012
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454
Simplify pastel color requirements
Mod #
 12102
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action

Page 8 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 33
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
bob vincent
Comment
Summary
Proponent
454.1.2.6
Allows a minimum width 2‑inch wide edge marker at 4‑foot water depth drop‑off sun shelf, increasing width from 3/4‑inch (19.1 mm) minimum to 51 mm minimum.
Mod #
 12202
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

Section
Commission Action
35‑Referenced Standards
Jennifer Hatfield
Comment
Summary
Proponent
35
On behalf of the Pool & Hot Tub Alliance (PHTA), this proposal simply updates referenced standards and the PHTA address.
Mod #
 12309
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 35
Chapter

Section
Commission Action
SubCode:
Ü
SubCode:
Residential
45‑Private Swimming Pool
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

4501.2
Updates and clarifies private pool definitions. Removes unnecessary terms.
 11983
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 45

Commission Action

Page 9 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 33
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

4501.6.6
Updates standard references and clarifies terminology for Suction Outlet Fitting Assemblies.
 11989
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 45

Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

4501.7.3
Eliminates manufacturing requirements covered in a referenced standard.
 11992
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 45

Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

4501.12.1
Updates the requirements for swimming pool and spa pressure pipping tests.
 12000
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 45

Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

4501.21.3
Updates the terms and standard references for Suction Outlet Fitting Assemblies.
 12002
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 45

Commission Action

Page 10 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 33
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

4501.21.5
Eliminates requirements that are already outlined in referenced standard ANSI/PHTA‑5.
 12004
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 45

Commission Action
Dallas Thiesen
Comment
Summary
Proponent
4501.16
Creates and exception to the 2023 NFPA 70 for bonding pools and spas. Preserves the status quo for equipotential bonding which has no record of failure in the 20 years that it has been in use in Florida.
Mod #
 12006
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 45
Chapter

Section
Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

4501.14.2
Eliminates equipment manufacturing requirements that are no longer needed due to industry manufacturing standards and practice.
 12009
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 45

Commission Action
Mod #
Proponent
Dallas Thiesen
Section
Chapter
Summary
Comment

AS
AS/IC

4501.14.5
Eliminates equipment manufacturing requirements that are redundant and unnecessary due to modern manufacturing standards and practice.
 12011
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 45

Commission Action

Page 11 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 33
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
Dallas Thiesen
Comment
Summary
Proponent
4501.16.1
Requires underwater lights on new residential pools to be low voltage.
Mod #
 12013
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 45
Chapter

Section
Commission Action
2712‑Reference Standards
Jennifer Hatfield
Comment
Summary
Proponent
46
On behalf of the Pool & Hot Tub Alliance (PHTA), this proposal simply updates referenced standards and the PHTA address.
Mod #
 12310
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 46
Chapter

Section
Commission Action
Denied
TAC Recommendation
TAC:
 15
Total Mods for  
in
Denied
Swimming Pool
Swimming Pool
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Michael Weinbaum
Comment
Summary
Proponent
454
The arbitrary 3 ft/sec speed limit on gravity pipe velocity is replaced with more scientifically based limitations.
Mod #
 11878
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action

Page 12 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 15
Total Mods for  
in
Denied
Swimming Pool
Swimming Pool
Samuel Liberatore
Comment
Summary
Proponent
454.1.6.5.15
Elimination of pool waste water to sanitary sewers.
Mod #
 11879
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454.1
Allows fences between two bodies of water to be eliminated if a safety/lifeguard plan is submitted.
Mod #
 11889
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454
Revert 680.5 of 2023 National Electric Code to 2020 National Electric Code text.
Mod #
 11922
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454
Allow skimmers in commercial pools in more situations
Mod #
 11924
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action

Page 13 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 15
Total Mods for  
in
Denied
Swimming Pool
Swimming Pool
Dallas Thiesen
Comment
Summary
Proponent
454.1.8.15
Excepts spas equipped with gravity flow drain systems from the emergency cut off switch requirements of NFPA 70.
Mod #
 11978
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action
Mod #
Proponent
Michael Weinbaum
Section
Chapter
Summary
Comment

AS
AS/IC

454
Reduce number of skimmers required in designated swimming areas of artificial lagoons, add requirement for wall inlets.
 12016
AM
AM/IC
D/IC
D
Denied
W
Chapter 4

Commission Action
Michael Weinbaum
Comment
Summary
Proponent
454
All pools should have wall inlets.
Mod #
 12103
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action
Samuel Liberatore
Comment
Summary
Proponent
454.1.2.5.4
Modify the depth of the swimout to 12" below the water line.
Mod #
 12197
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action

Page 14 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 15
Total Mods for  
in
Denied
Swimming Pool
Swimming Pool
Samuel Liberatore
Comment
Summary
Proponent
454.1.9.6.5
Eliminate the need for additional inlets reference.
Mod #
 12199
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action
bob vincent
Comment
Summary
Proponent
454.1
Edits to preamble, existing definition and new added definitions. Edits to update referenced national standards dates.
Mod #
 12212
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action
bob vincent
Comment
Summary
Proponent
454.1.6.5.16
Edits to electrical interlock alone and allowing for ORP flow sensors
Mod #
 12220
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action
bob vincent
Comment
Summary
Proponent
454.1.9.7.4
Unique public pools for 1 or 2 persons are built as special purpose pools, so they must be proven to be safe; have adequate equipment for water quality that meets Department of Health pool operations Rule 64E‑9, FAC. Code section for cold plunge pools is added, Epsom float tanks is amended.
Mod #
 12242
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action

Page 15 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 15
Total Mods for  
in
Denied
Swimming Pool
Swimming Pool
bob vincent
Comment
Summary
Proponent
454.1.6.5.3.1
Recessed gutter dam wall made not visible from above to prevent patrons from using it as a step.
Mod #
 12336
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action
bob vincent
Comment
Summary
Proponent
454.1
Edit U/W light intensity in lumens for pool lighting approved for night swim. This alternative to mod 12220 is from 2024 CDC Model Aquatic Health Code; these devices prevent chlorine and acid mixing in a hazardous reaction that releases toxic gas that result in injuries to pool patrons and staff.
Mod #
 12354
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
Commission Action
Pulled of Consent by Staff
TAC Recommendation
TAC:
 6
Total Mods for  
in
Pulled of Consent by Staff
Swimming Pool
Swimming Pool
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Michael Weinbaum
Comment
Summary
Proponent
454.1.1
define "Interlock"
Mod #
 11927
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Staff
W
Chapter 4
Chapter

AC Action - More than one TAC - 

SW – AM (Primary)
E - D
Section
Commission Action

Page 16 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 6
Total Mods for  
in
Pulled of Consent by Staff
Swimming Pool
Swimming Pool
Dallas Thiesen
Comment
Summary
Proponent
454.1.10.4.2
Creates an exception in the Florida Building Code for the swimming pool and spa equipotential bonding requirements of NFPA 70 Sec. 680.26(2)(a)‑(b).
Mod #
 11975
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Staff
W
Chapter 4
Chapter

TAC Action - More than one TAC - 

SW – AS (Primary)
E - D
Section
Commission Action
Dallas Thiesen
Comment
Summary
Proponent
454.2.16
Creates and exception to the 2023 NFPA 70 for bonding pools and spas. Preserves the status quo for equipotential bonding which has no record of failure in the 20 years that it has been in use in Florida.
Mod #
 12005
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Staff
W
Chapter 4
Chapter

TAC Action - More than one TAC - 

SW – AS (Primary)
E - D
Section
Commission Action
John Hall
Comment
Summary
Proponent
454.1.10.4.1
This modification is a local technical amendment to address the voltage limitations for commercial swimming pools.
Mod #
 12111
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Staff
W
Chapter 4
Chapter

AC Action - More than one TAC - 

SW – AS (Primary)
E - D
Section
Commission Action
John Hall
Comment
Summary
Proponent
454.2.16
This modification is a local technical amendment to adderss the voltage limitations for residential swimming pools.
Mod #
 12115
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Staff
W
Chapter 4
Chapter

TAC Action - More than one TAC - 

SW – AS (Primary)
E - D
Section
Commission Action
SubCode:
Ü
SubCode:
Existing Building

Page 17 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 6
Total Mods for  
in
Pulled of Consent by Staff
Swimming Pool
Swimming Pool
3‑Provisions for All Compliance Methods
Dallas Thiesen
Comment
Summary
Proponent
302.6.2
Excepts Florida from the equipotential bonding requirements of 2023 NFPA 70 and preserves the status quo, allowing the continued use of single wire the single wire bonding method which has no history of failure in the 20 years that it has been in use.
Mod #
 11977
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Staff
W
Chapter 3
Chapter

TAC Action - More than one TAC - 

SW – AS (Primary)
E - D
Section
Commission Action
Pulled of Consent by Interested Entity
TAC Recommendation
TAC:
 3
Total Mods for  
in
Pulled of Consent by Interested Entity
Swimming Pool
Swimming Pool
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
bob vincent
Comment
Summary
Proponent
454.1.9.10.4
Vanishing edge (a type of gutter) is a walkable horizontal surface, thus needs to be slip resistant as are all horizontal gutters.
Mod #
 12207
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Interested Entity
W
Chapter 4
Chapter

Pulled off consent by Bob Vincent
TAC’s Final Action:
TAC – SW - AM

Section
Commission Action
bob vincent
Comment
Summary
Proponent
454.1.8
Adds allowance statements for spa‑ cold pools with appropriate patron safety .
Mod #
 12252
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Interested Entity
W
Chapter 4
Chapter

Pulled off consent by Bob Vincent
TAC’s Final Action:
TAC – SW - AM

Section
Commission Action

Page 18 of 18
11/18/2025
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  63
Swimming Pool
TAC:
 3
Total Mods for  
in
Pulled of Consent by Interested Entity
Swimming Pool
Swimming Pool
bob vincent
Comment
Summary
Proponent
454.1
For designers, contractors and Interactive Water Features (IWF) owners to completely understand the relationship of these 2 sections about UV disinfection used for disease prevention at IWF's, described in section 454.1.9.8
Mod #
 12340
AM/IC
D/IC
D
AM
AS/IC
AS
Pulled of Consent by Interested Entity
W
Chapter 4
Chapter

Pulled off consent by Bob Vincent
TAC’s Final Action:
TAC – SW - D

Section
Commission Action
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 Triennial Original Modification 01/03/2025 ‑ 02/18/2025
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria
SW