S thePage 1 of 2
8/27/2025
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  4
Mechanical
Approved as Submitted
TAC Recommendation
TAC:
 2
Total Mods for  
in
Approved as Submitted
Mechanical
Mechanical
SubCode:
Ü
SubCode:
Mechanical
6‑Duct Systems
Rolando Soto
Comment
Summary
Proponent
602.2.1
Allows PVC pipes and fittings for the removal of condensate in air handler closets used as plenums in the dwelling units of R‑2 and R‑3 occupancies with conditions:
Mod #
 11880
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 6
Chapter

 X

Hernandez Motion to Deny Comment G1 for the Original as Submitted  2nd Pittman  Vote: 3 Yes – 4 No 
Section
TAC Action
SubCode:
Ü
SubCode:
Residential
14‑Heating and Cooling Equipment and Appliances
Rolando Soto
Comment
Summary
Proponent
1411.3.2
This proposed modification clarifies the code regarding the insulation of condensate piping. Insulating the condensate piping is a common practice but it is not clearly mandated in the codes.
Mod #
 11776
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 14
Chapter

 X

No action taken. Reverts to previous action.
Section
TAC Action
Denied
TAC Recommendation
TAC:
 2
Total Mods for  
in
Denied
Mechanical
Mechanical
SubCode:
Ü
SubCode:
Mechanical
3‑General Regulations

Page 2 of 2
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  4
Mechanical
TAC:
 2
Total Mods for  
in
Denied
Mechanical
Mechanical
Rebecca Quinn obo FL Div Emerg Mgnt
Comment
Summary
Proponent
301.16
For clarity, carry into other codes the change made in 8th to require elevation of exterior equipment and exterior appliances that are damaged by flood (see FBC EB Sec. 701.3 and FBCR Sec. R322.1.6).
Mod #
 12019
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 3
Chapter

 X

Hernandez Motion to Deny Comment A1   2nd Pittman  Vote:  7 Yes – 0 No
Section
TAC Action
SubCode:
Ü
SubCode:
Residential
13‑General Mechanical System Requirements
Joseph Belcher
Comment
Summary
Proponent
1307.3.1
Modifies appliance protection in dwelling garage
Mod #
 12181
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 13
Chapter

 X

John Motion to Deny Comment A1  2nd Quintella   Vote: 5 yes – 2 No  Passes 
Section
TAC Action
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 Triennial Original Modification 01/03/2025 ‑ 02/18/2025
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria
M