Page 1 of 2
8/27/2025
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  5
Plumbing
Denied
TAC Recommendation
TAC:
 5
Total Mods for  
in
Denied
Plumbing
Plumbing
SubCode:
Ü
SubCode:
Fuel Gas
3‑General Regulations
Rebecca Quinn obo FL Div Emerg Mgnt
Comment
Summary
Proponent
301.11
For clarity, carry into other codes the change made in 8th to require elevation of exterior equipment and exterior appliances that are damaged by flood (see FBC EB Sec. 701.3 and FBCR Sec. R322.1.6).
Mod #
 12020
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 3
Chapter

 X

Duren Motion to Deny  A1 2nd McStravic   Vote:  9 Yes – 0 No
Section
TAC Action
8‑Referenced Standards
Bryan Holland
Comment
Summary
Proponent
102.4
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs).
Mod #
 12028
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 8
Chapter

X
McStravic Motion to Approve Comment A1   2nd Gonzalez  Vote: 9 Yes – 0 No
Section
TAC Action
SubCode:
Ü
SubCode:
Plumbing
1‑Scope And Administration
Bryan Holland
Comment
Summary
Proponent
102.4
This proposed modification recommends adoption of NFPA 70‑23, including all published Tentative Interim Amendments (TIAs) in Chapter 15. (Chapter 15 is not in the drop box above)
Mod #
 12029
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 1
Chapter

X
Gonzalez Motion to Approve Comment A1   2nd Schilling  Vote:  9 Yes – 0 No
Section
TAC Action

Page 2 of 2
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  5
Plumbing
TAC:
 5
Total Mods for  
in
Denied
Plumbing
Plumbing
7‑Sanitary Drainage
Michael Wilson
Comment
Summary
Proponent
718
The finished resin‑impregnated tube shall be continuous over the entire length of the installation or inversion run, with no gaps in coverage at branch or service connections.
Mod #
 11834
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 7
Chapter

X

Duren Motion to Deny A7  2nd McStravic  Vote: 3 Yes – 6 No   Fails
Kozan Motion to Approve Comment A7   2nd Batts and Gonzalez   Vote: 6 Yes – 3 No
Batts Motion to Deny A9 A10 and A11    2nd Kozan   Vote: 8 Yes – 1 No  Passes  
Section
TAC Action
SubCode:
Ü
SubCode:
Residential
30‑Sanitary Drainage
Michael Wilson
Comment
Summary
Proponent
3012
The finished resin‑impregnated tube shall be continuous over the entire length of the installation or inversion run, with no gaps in coverage at branch or service connections.
Mod #
 11851
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 30
Chapter

X

Kozan Motion to Approve A3  2nd Schilling    Vote::7 Yes – 2 No
Kozan Motion to Deny A4 based on previous action  2nd Schilling   Vote: 8 Yes – 1 No
Section
TAC Action
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 Triennial Original Modification 01/03/2025 ‑ 02/18/2025
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria
P