Page 1 of 8
8/27/2025
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  26
Swimming Pool
Approved as Modified
TAC Recommendation
TAC:
 4
Total Mods for  
in
Approved as Modified
Swimming Pool
Swimming Pool
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Dallas Thiesen
Comment
Summary
Proponent
454.2.6.3
Brings the FBC in line with the requirements of ANSI/PHTA 5 Standard.
Mod #
 11985
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

X
Batts Motion to Approve as Amended with A2  Greggory 2nd   Vote:  12 Yes – 0 No 
Section
TAC Action
bob vincent
Comment
Summary
Proponent
454.1.9.10.4
Vanishing edge (a type of gutter) is a walkable horizontal surface, thus needs to be slip resistant as are all horizontal gutters.
Mod #
 12207
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

 
x

X
Vincent Motion to Approve As Modified  - Dies for lack of 2nd.
Batts Motion to deny  Greggory 2nd   Vote: 11 Yes – 1 No    Passes
Section
TAC Action
bob vincent
Comment
Summary
Proponent
454.1.8
Adds allowance statements for spa‑ cold pools with appropriate patron safety .
Mod #
 12252
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 4
Chapter

X
Batts Motion to Approve As modified with Comment A2 -   2nd Greggory   Vote: 10 Yes – 2 No  Passes
Section
TAC Action
SubCode:
Ü
SubCode:
Residential
45‑Private Swimming Pool

Page 2 of 8
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  26
Swimming Pool
TAC:
 4
Total Mods for  
in
Approved as Modified
Swimming Pool
Swimming Pool
Dallas Thiesen
Comment
Summary
Proponent
4501.6.3
Brings the FBC in line with the requirements of ANSI/PHTA 5 Standard.
Mod #
 11986
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Modified
W
Chapter 45
Chapter

X
Cesarone  Motion to Approve As Amended with Comment A3  -  2nd Batts  Vote:   12 Ye – 0 No
Shane Gerwig Suggests removing verbiage “ and with copper tubing”.
Section
TAC Action
Approved as Submitted
TAC Recommendation
TAC:
 13
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Michael Weinbaum
Comment
Summary
Proponent
454
No bathing load calculation for slides and IWFs.
Mod #
 11876
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

 X

Vincent Motion to Deny the Original Proposal at the last meeting   - Dies for Lack of 2nd 
No Action Taken.  Reverts to original action.
Section
TAC Action
Michael Weinbaum
Comment
Summary
Proponent
454
Ensure UV treatment for spray features in wading pools.
Mod #
 11884
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

 X

No Action Taken. Reverts to previous action.
Section
TAC Action

Page 3 of 8
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  26
Swimming Pool
TAC:
 13
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
Michael Weinbaum
Comment
Summary
Proponent
454.1
Clarify and rationalize requirements for fences and barriers between Wading pools or IWFs and other features.
Mod #
 11887
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

 X
Comment A2 is stand alone modification
Batts Motion to Approve with Comment A2   Cesarone 2nd    Vote: 12 Yes – 0 No
Section
TAC Action
Dallas Thiesen
Comment
Summary
Proponent
454.1.2.6
Allows for a sunshelf terminate into five feet of water or less. Allows a sunshelf to terminate in to depths greater than five feet of water if the sunself transitions to a bench first.
Mod #
 11973
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

 X

No Action Taken. Reverts to original action.
Section
TAC Action
Dallas Thiesen
Comment
Summary
Proponent
454.1.10.4.2
Creates an exception in the Florida Building Code for the swimming pool and spa equipotential bonding requirements of NFPA 70 Sec. 680.26(2)(a)‑(b).
Mod #
 11975
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

 X

No Action Taken.  Reverts to original action.  
Section
TAC Action
Dallas Thiesen
Comment
Summary
Proponent
454.2.16
Creates and exception to the 2023 NFPA 70 for bonding pools and spas. Preserves the status quo for equipotential bonding which has no record of failure in the 20 years that it has been in use in Florida.
Mod #
 12005
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

 X

Barbosa Motion to Deny previous proposal.  Dies for lack of 2nd.
No Action Taken.  Reverts to previous action.  
Section
TAC Action

Page 4 of 8
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  26
Swimming Pool
TAC:
 13
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
Michael Weinbaum
Comment
Summary
Proponent
454
Simplify pastel color requirements
Mod #
 12102
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

 X

No Action Taken.  Reverts to previous Action.
Section
TAC Action
John Hall
Comment
Summary
Proponent
454.1.10.4.1
This modification is a local technical amendment to address the voltage limitations for commercial swimming pools.
Mod #
 12111
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

 X

Madani – this is an amendment to the NEC which can cause conflicts with NFPA.
Bleasdell Motion to Approve Alternative language.   Dies for lack of 2nd.  
Barbosa Motion to Deny  2nd Weinbaum  Vote: 11 Yes – 1 No  Pases
Barbosa Motion to Deny original language and keep what is currently in FBC  2nd Vincent    Vote:2 Yes – 10 No Fails
Section
TAC Action
John Hall
Comment
Summary
Proponent
454.2.16
This modification is a local technical amendment to adderss the voltage limitations for residential swimming pools.
Mod #
 12115
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 4
Chapter

 X

Bleasdell Motion to Approve Comment A1 as Submitted  Dies for lack of 2nd.
No Action Taken.  Reverts to previous action.   
Section
TAC Action
16‑Structural Design
Dallas Thiesen
Comment
Summary
Proponent
1612.4.2
Modifies the requirements for pool equipment installed in Special Flood Hazard Zones.
Mod #
 11980
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 16
Chapter

 X

Cesarone Motion to Deny  2nd Weinbaum   Vote: 12 Yes – 0 No
Section
TAC Action

Page 5 of 8
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  26
Swimming Pool
TAC:
 13
Total Mods for  
in
Approved as Submitted
Swimming Pool
Swimming Pool
SubCode:
Ü
SubCode:
Existing Building
3‑Provisions for All Compliance Methods
Dallas Thiesen
Comment
Summary
Proponent
302.6.2
Excepts Florida from the equipotential bonding requirements of 2023 NFPA 70 and preserves the status quo, allowing the continued use of single wire the single wire bonding method which has no history of failure in the 20 years that it has been in use.
Mod #
 11977
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 3
Chapter

 X

No Action Taken.  Reverts to Previous Action on Original Modification.   
Section
TAC Action
SubCode:
Ü
SubCode:
Residential
45‑Private Swimming Pool
Dallas Thiesen
Comment
Summary
Proponent
4501.16
Creates and exception to the 2023 NFPA 70 for bonding pools and spas. Preserves the status quo for equipotential bonding which has no record of failure in the 20 years that it has been in use in Florida.
Mod #
 12006
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 45
Chapter

 X

No Action Taken.  Reverts to Previous Action on original.  
Section
TAC Action
Dallas Thiesen
Comment
Summary
Proponent
4501.16.1
Requires underwater lights on new residential pools to be low voltage.
Mod #
 12013
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 45
Chapter

 X

No Action Taken.  Reverts to Previous Action on original.  
Section
TAC Action
Denied
TAC Recommendation

Page 6 of 8
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  26
Swimming Pool
TAC:
 9
Total Mods for  
in
Denied
Swimming Pool
Swimming Pool
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Michael Weinbaum
Comment
Summary
Proponent
454
The arbitrary 3 ft/sec speed limit on gravity pipe velocity is replaced with more scientifically based limitations.
Mod #
 11878
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

 X

Barbosa Motion to Deny A1  Dies for lack of 2nd
Weinbaum Motion to Approve Comment A1  2nd  Cesarone    Vote: 6 Yes – 6 No  Fails
Barbosa Motion to Deny  Comment A2  2nd Ball    Vote: 8 Yes – 4 No   Passes 
Barbosa Motion to Deny Comment A3   2nd Ball    Vote: 10 Yes – 2 No   Passes 

Section
TAC Action
Michael Weinbaum
Comment
Summary
Proponent
454.1
Ensure that rules signs are clear
Mod #
 11891
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

 

 X
Batts Motion to Approve with Comment A1  2nd  Cesarone   Vote:  12 Yes – 0 No  Passes.  
Batts Motion to Approve Comment A2 – 2nd Cesarone  Vote:  12 Yes – 0 No Passes
Batts Motion to Approve with Comment A3  2nd  Greggory   Vote:  12 Yes – 0 No  Passes 
Vincent Motion to Deny with Comment A4  2nd  Barbosa   Vote:  5 Yes -7 No  Fails
Batts Motion to approve with Colment A4  2nd  Weinbaum   Vote: 8 Yes – 4 No   Passes
Batts Motion to Approve with comment A5  2nd Ball   Vote: 12 Yes – 0 No Passes
Batts Motion to Approve with Comment A6  2nd Ball   Vote: 4 Yes – 8 No  Fails
Weinbaum Motin to Approve with Comment A6 MODIFIED  2nd Batts   Vote: Batts withdrew 2nd .  Comments A1 through A5 were appproved.

Section
TAC Action
Michael Weinbaum
Comment
Summary
Proponent
454
Revert 680.5 of 2023 National Electric Code to 2020 National Electric Code text.
Mod #
 11922
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

 X X

Madani – this amends the NEC which is discouraged.
Batts Motion to Deny Both A1 and A2 for original action  2nd Barbosa    Vote: 11 Yes – 1 No  Passes
Section
TAC Action
Michael Weinbaum
Comment
Summary
Proponent
454
Allow skimmers in commercial pools in more situations
Mod #
 11924
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

 X

Vincent Motion to Deny Comment A1   2nd Ball   Vote:   10 Yes – 2 No  
Batts Motion to Deny Comment A2   2nd Sawchuk  Vote: 10 Yes – 2 No

Section
TAC Action

Page 7 of 8
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  26
Swimming Pool
TAC:
 9
Total Mods for  
in
Denied
Swimming Pool
Swimming Pool
Michael Weinbaum
Comment
Summary
Proponent
454.1.1
define "Interlock"
Mod #
 11927
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

 X
Batts Motion to Approve Comment A2 and modify with adding additional word “Automatically’  2nd Weinbaum  
Vote:12 Yes – 0 No
Section
TAC Action
Dallas Thiesen
Comment
Summary
Proponent
454.1.8.15
Excepts spas equipped with gravity flow drain systems from the emergency cut off switch requirements of NFPA 70.
Mod #
 11978
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

 X

Weinbaum Motion to Approve with Comment A1   2nd Patrick   Vote: 2 Yes – 10 No   Fails
Batts Motion to Deny   2nd Barbosa   Vote:  11 yes – 1 No
Section
TAC Action
Dallas Thiesen
Comment
Summary
Proponent
454.1.1
Expands the allowable munsel value range for contrasting markings in commercial swimming pools and spa.
Mod #
 11979
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

 X
Batts Motion to Approve with Comment A1   2nd Ball  Vote: 10 Yes – 2 No Passes
Section
TAC Action
bob vincent
Comment
Summary
Proponent
454.1.9.7.4
Unique public pools for 1 or 2 persons are built as special purpose pools, so they must be proven to be safe; have adequate equipment for water quality that meets Department of Health pool operations Rule 64E‑9, FAC. Code section for cold plunge pools is added, Epsom float tanks is amended.
Mod #
 12242
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

 X

Vincent Motion to Approve with Comment A1   Dies for lack of 2nd.
Barbosa Motion to Deny  2nd Batts   Vote: 11 Yes – 1 No    
Section
TAC Action

Page 8 of 8
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  26
Swimming Pool
TAC:
 9
Total Mods for  
in
Denied
Swimming Pool
Swimming Pool
bob vincent
Comment
Summary
Proponent
454.1
For designers, contractors and Interactive Water Features (IWF) owners to completely understand the relationship of these 2 sections about UV disinfection used for disease prevention at IWF's, described in section 454.1.9.8
Mod #
 12340
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

X

Vincent Motion to Approve original language.  Dies for lack of 2nd.
No Action Taken.  Reverts to previous action.  
Section
TAC Action
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 Triennial Original Modification 01/03/2025 ‑ 02/18/2025
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria
SW